## RIGL-WSU (samples CRT and SM1)
Analytical Settings for U-Pb Geochronology at the RIGL at School of the Environment, Washington State University(Element 2 Single Collector)
Laboratory and Sample Preparation
Laboratory name |  |  |  |  | Radiogenic Isotopic and Geochronology Lab (RIGL) at WSU
Sample type/mineral |  |  |  |  | Zircon
Sample preparation |  |  |  |  | EPD ZirChron LLC, 1 inch epoxy mount, polished to 1-micron finish
Imaging |  |  |  |  | JEOL JXA8500F Field Emission Electron Microprobe BSE and/or Cathodoluminesence
Laser ablation system
Make, Model, and type |  |  |  |  | Teledyne Photon Machines G2 Analyte Excimer laser
Ablation cell and volume |  |  |  |  | HelEx ablation cell
Laser wavelength |  |  |  |  | 193 nm
Energy density |  |  |  |  | ~5.0 J/cm2
Repetition rate |  |  |  |  | 10 Hz
Alation duration |  |  |  |  | 36 s
Ablation pit depth/ablation rate |  |  |  |  | ~15-20 microns
Spot diameter nominal/actual |  |  |  |  | 20-25 microns
Sampling mode/pattern |  |  |  |  | Spot
Carrier gas |  |  |  |  | Helium
Cell carrier gas flow |  |  |  |  | 1.0 L/min He
ICP-MS instrument
Make, Model, and type |  |  |  |  | Thermo Element2 ICPMS
Sample introduction |  |  |  |  | Ablation aerosol
RF power |  |  |  |  | 1200 W
Make-up gas flow |  |  |  |  | 1.0 L/min Ar
Detection system |  |  |  |  | Dual mode Secondary Electron Multiplier
Masses measured |  |  |  |  | 202Hg, 204(Hg+Pb), 206Pb, 207Pb, 208Pb, 232Th, 235U, 238U
Dwell times (ms) |  |  |  |  | 202=0.006, 204=0.006, 206=0.030, 207=0.045, 208=0.006, 232=.006, 235=0.006, 238=0.030
Total integration time per output data point (sec) |  |  |  |  | 202=1.5, 204=1.5, 206=7.5, 207=11.25, 208=1.5, 232=1.5, 235=1.5, 238=7.5
Sensitivity as useful yield |  |  |  |  | ~20,000 cps/ppm
IC dead time |  |  |  |  | 19 ns
Data processing
Gas blank |  |  |  |  | 10 sec on-peak zero subtracted
Calibration strategy |  |  |  |  | Plesovice zircon used as primary standard
Reference material information |  |  |  |  | Slama et al 2008
Data processing package used/Correction for LIEF |  |  |  |  | IOLITE
Mass discrimination |  |  |  |  | Normalized to primary standard
Common Pb correction, composition and uncertainty |  |  |  |  | Common Pb correction using Williams (1998) in Isoplot
Uncertainty level and propagation |  |  |  |  | Uncertainties for individual analyses propagated at 2-sigma. Uncertainty of pooled analyses propagated at 2-sigma.
Quality control/validation |  |  |  |  | FC-1, 91500, GHR1, Temora, Panchita and Fish Canyon Tuff analyzed as secondary standards.
Other information |  |  |  |  | Primary and secondary standards mounted together with unknowns.
Analytical methods described by Chang et al (2006) and Gaschnig et al (2010)
Citations:
Chang, Z., J. D. Vervoort, W. C. McClelland, and C. Knaack (2006), U-Pb dating of zircon by LA-ICP-MS, Geochem. Geophys. Geosyst., 7, Q05009, doi:10.1029/2005GC001100.
Gaschnig R M, Vervoort J D, Lewis R S, McClelland W C. Migrating magmatism in the northern US Cordillera: in situ U–Pb geochronology of the Idaho batholith, Contributions to Mineralogy and Petrology, 2010, vol. 159 (pg. 863-883)
Sample: CRT
Location: -70.21214 -32.19766 (CRS: EPSG 4326)
|  |  |  | Isotopic Ratios | [8 empty] | AGES
Running Name | Sample Name | U ppm | U/Th | 207Pb / 235U | 2σ Abs Error | 206Pb /238U | 2σ Abs Error | Corr. Coef | 238U / 206Pb | 2σ Abs Error | 207Pb / 206Pb | 2σ Abs Error | 207Pb / 235U Ma | 2σ Abs Error Ma | 206Pb / 238 U Ma | 2σ Abs Error Ma | 207Pb / 206 Pb Ma | 2σ Abs Error Ma | Best Age Ma | 2σ Abs Error Ma
CRT_1 | CRT_1 | 105.7 | 1.978 | 0.68938 | 0.014 | 0.085799 | 0.00095 | 0.083269 | 11.6509 | 0.12896 | 0.0583 | 0.0013 | 532.7521 | 8.6 | 530.6457 | 5.804 | 524 | 50 | 530.6457 | 5.804
CRT_2 | CRT_2 | 180.6 | 1.427 | 0.25458 | 0.0056 | 0.035938 | 0.00047 | 0.2222 | 27.801 | 0.36326 | 0.0514 | 0.0012 | 230.4304 | 4.5 | 227.6064 | 2.9609 | 244 | 52 | 227.6064 | 2.9609
CRT_3 | CRT_3 | 191.7 | 1.496 | 0.25882 | 0.0045 | 0.036262 | 0.00035 | 0.15795 | 27.5406 | 0.26547 | 0.05179 | 0.00096 | 233.8595 | 3.6 | 229.6199 | 2.2061 | 263 | 42 | 229.6199 | 2.2061
CRT_4 | CRT_4 | 354.2 | 2.309 | 0.54846 | 0.0085 | 0.060188 | 0.00081 | 0.52829 | 16.3586 | 0.21676 | 0.06612 | 0.0009 | 444.2601 | 5.6 | 376.7677 | 4.9246 | 803 | 29 | 376.7677 | 4.9246
CRT_5 | CRT_5 | 1926 | 2.46 | 0.24338 | 0.0025 | 0.034177 | 0.00034 | 0.62425 | 29.2141 | 0.29018 | 0.05167 | 0.00045 | 221.3184 | 2 | 216.6401 | 2.1323 | 267 | 20 | 216.6401 | 2.1323
CRT_7 | CRT_7 | 141.1 | 1.091 | 0.2772 | 0.0055 | 0.038459 | 0.0004 | 0.16357 | 25.9605 | 0.26958 | 0.0523 | 0.001 | 248.5889 | 4.4 | 243.271 | 2.515 | 282 | 45 | 243.271 | 2.515
CRT_8 | CRT_8 | 109.2 | 1.285 | 0.25187 | 0.0097 | 0.033349 | 0.00053 | 0.13947 | 29.8151 | 0.47114 | 0.0548 | 0.0021 | 228.2311 | 7.8 | 211.4759 | 3.3547 | 379 | 89 | 211.4759 | 3.3547
CRT_9 | CRT_9 | 1970 | 3.68 | 0.26601 | 0.0045 | 0.036556 | 0.00041 | 0.7362 | 27.2851 | 0.30524 | 0.0528 | 0.00057 | 239.6437 | 3.6 | 231.4487 | 2.5651 | 320 | 26 | 231.4487 | 2.5651
CRT_10 | CRT_10 | 408 | 1.46 | 0.68117 | 0.01 | 0.083208 | 0.001 | 0.44799 | 11.9904 | 0.14377 | 0.0594 | 0.00086 | 527.8043 | 6.1 | 515.2421 | 6.0649 | 575 | 32 | 515.2421 | 6.0649
CRT_12 | CRT_12 | 558 | 3.285 | 0.2547 | 0.0055 | 0.025491 | 0.0003 | 0.51039 | 38.0662 | 0.43471 | 0.0725 | 0.0013 | 230.5285 | 4.4 | 162.2663 | 1.8595 | 992 | 37 | 162.2663 | 1.8595
CRT_13 | CRT_13 | 62.6 | 0.5419 | 0.027723 | 0.0042 | 0.0032444 | 0.00016 | 0.010062 | 302.1148 | 14.6037 | 0.062 | 0.01 | 27.783 | 4.4 | 20.8811 | 1.044 | 370 | 320 | 20.8811 | 1.044
CRT_14 | CRT_14 | 244.6 | 0.002738 | 0.075492 | 0.0034 | 0.0038225 | 0.0001 | 0.19932 | 229.3578 | 5.2605 | 0.1433 | 0.0059 | 73.943 | 3.2 | 24.5946 | 0.60303 | 2234 | 74 | 24.5946 | 0.60303
CRT_17 | CRT_17 | 62.48 | 0.775 | 0.27825 | 0.011 | 0.038383 | 0.00062 | 0.31001 | 26.001 | 0.41915 | 0.0526 | 0.002 | 249.4198 | 9 | 242.8042 | 3.9163 | 279 | 84 | 242.8042 | 3.9163
CRT_18 | CRT_18 | 64.1 | 1.216 | 0.24087 | 0.0076 | 0.034202 | 0.00042 | 0.22247 | 29.2141 | 0.35846 | 0.0511 | 0.0015 | 219.267 | 6.2 | 216.7967 | 2.6636 | 213 | 64 | 216.7967 | 2.6636
CRT_19 | CRT_19 | 233.6 | 0.002816 | 0.086735 | 0.0079 | 0.0039582 | 0.00011 | 0.49364 | 216.4502 | 5.1536 | 0.159 | 0.01 | 84.5092 | 7.1 | 25.4656 | 0.71592 | 2380 | 110 | 25.4656 | 0.71592
CRT_20 | CRT_20 | 254.4 | 1.3 | 0.68094 | 0.011 | 0.086228 | 0.00085 | 0.12465 | 11.609 | 0.11455 | 0.0573 | 0.001 | 527.6642 | 6.8 | 533.1907 | 5.1837 | 493 | 39 | 533.1907 | 5.1837
CRT_22 | CRT_22 | 372 | 0.479 | 0.019171 | 0.0018 | 0.003098 | 9.3e-05 | 0.001 | 323.4153 | 9.7276 | 0.0449 | 0.0045 | 19.2931 | 1.8 | 19.9402 | 0.60986 | 0 | 190 | 19.9402 | 0.60986
CRT_23 | CRT_23 | 774 | 0.525 | 0.019664 | 0.00063 | 0.0029602 | 4.3e-05 | 0.23772 | 337.0408 | 4.8846 | 0.0482 | 0.0015 | 19.7851 | 0.63 | 19.0548 | 0.27828 | 93 | 64 | 19.0548 | 0.27828
CRT_24 | CRT_24 | 1370 | 0.702 | 0.18286 | 0.0024 | 0.026305 | 0.00025 | 0.52711 | 37.9651 | 0.36034 | 0.05044 | 0.00062 | 170.6249 | 2 | 167.3832 | 1.5808 | 209 | 28 | 167.3832 | 1.5808
CRT_25 | CRT_25 | 1361 | 0.693 | 0.24214 | 0.003 | 0.034082 | 0.00031 | 0.25321 | 29.2997 | 0.26613 | 0.05155 | 0.00063 | 220.3035 | 2.4 | 216.0468 | 1.949 | 264 | 29 | 216.0468 | 1.949
CRT_26 | CRT_26 | 5470 | 3.11 | 0.24105 | 0.0044 | 0.034201 | 0.00056 | 0.41066 | 29.2141 | 0.47794 | 0.05114 | 0.00065 | 219.4112 | 3.6 | 216.7857 | 3.513 | 242 | 29 | 216.7857 | 3.513
CRT_27 | CRT_27 | 265.9 | 0.002556 | 0.066474 | 0.0034 | 0.0037741 | 0.00012 | 0.016524 | 237.5297 | 6.7704 | 0.1278 | 0.0074 | 65.3875 | 3.2 | 24.2836 | 0.73768 | 2000 | 110 | 24.2836 | 0.73768
CRT_28 | CRT_28 | 437 | 1.091 | 0.27333 | 0.005 | 0.038541 | 0.00049 | 0.43644 | 25.9336 | 0.32955 | 0.05146 | 0.00087 | 245.5051 | 4 | 243.7799 | 3.0725 | 252 | 38 | 243.7799 | 3.0725
CRT_30 | CRT_30 | 369.3 | 0.003159 | 0.07725 | 0.0031 | 0.0037121 | 8.5e-05 | 0.17399 | 233.5357 | 4.6358 | 0.151 | 0.0057 | 75.6024 | 2.9 | 23.8853 | 0.51607 | 2318 | 65 | 23.8853 | 0.51607
CRT_31 | CRT_31 | 273.8 | 0.002568 | 0.066773 | 0.0029 | 0.0036649 | 8.8e-05 | 0.22173 | 243.0724 | 5.1994 | 0.1322 | 0.0054 | 65.6727 | 2.8 | 23.5824 | 0.53688 | 2089 | 77 | 23.5824 | 0.53688
CRT_33 | CRT_33 | 148.1 | 1.36 | 0.71163 | 0.015 | 0.087222 | 0.00099 | 0.025124 | 11.4508 | 0.12981 | 0.0592 | 0.0015 | 546.048 | 9 | 539.0894 | 6.056 | 560 | 52 | 539.0894 | 6.056
CRT_34 | CRT_34 | 246.5 | 0.002358 | 0.071459 | 0.0035 | 0.0036878 | 0.00011 | 0.0001 | 238.6635 | 6.2656 | 0.1406 | 0.0075 | 70.1262 | 3.3 | 23.7294 | 0.67452 | 2205 | 91 | 23.7294 | 0.67452
CRT_35 | CRT_35 | 720 | 1.14 | 0.61048 | 0.013 | 0.072026 | 0.00073 | 0.30895 | 13.7836 | 0.13869 | 0.0615 | 0.0012 | 484.1575 | 8 | 448.3509 | 4.473 | 650 | 42 | 448.3509 | 4.473
CRT_36 | CRT_36 | 348 | 0.398 | 0.24371 | 0.0041 | 0.034131 | 0.00034 | 0.24123 | 29.2483 | 0.29086 | 0.05181 | 0.00094 | 221.5868 | 3.4 | 216.3512 | 2.144 | 264 | 40 | 216.3512 | 2.144
CRT_37 | CRT_37 | 461 | 0.00359 | 0.069893 | 0.0044 | 0.0038624 | 0.00013 | 0.56162 | 230.9469 | 6.9337 | 0.1313 | 0.0054 | 68.6393 | 4.2 | 24.8508 | 0.77025 | 2098 | 77 | 24.8508 | 0.77025
CRT_38 | CRT_38 | 389.7 | 1.144 | 0.23954 | 0.0042 | 0.033947 | 0.00031 | 0.097657 | 29.4291 | 0.26848 | 0.0512 | 0.00099 | 218.1753 | 3.4 | 215.2029 | 1.961 | 237 | 43 | 215.2029 | 1.961
CRT_39 | CRT_39 | 257.7 | 0.002527 | 0.064845 | 0.0043 | 0.0036082 | 0.00015 | 0.16085 | 247.5248 | 9.1903 | 0.1304 | 0.0085 | 63.8348 | 4.1 | 23.2183 | 0.90642 | 2060 | 120 | 23.2183 | 0.90642
CRT_40 | CRT_40 | 269 | 0.654 | 0.025869 | 0.0022 | 0.0031077 | 9.2e-05 | 0.055273 | 316.0556 | 9.19 | 0.0604 | 0.0056 | 25.9489 | 2.1 | 20.0025 | 0.59886 | 460 | 190 | 20.0025 | 0.59886
CRT_41 | CRT_41 | 704 | 0.587 | 0.024212 | 0.0018 | 0.0029476 | 7.1e-05 | 0.23241 | 333.5557 | 7.8994 | 0.0596 | 0.0044 | 24.3061 | 1.7 | 18.9737 | 0.46173 | 500 | 150 | 18.9737 | 0.46173
CRT_42 | CRT_42 | 1870 | 11.88 | 0.55998 | 0.017 | 0.069101 | 0.0019 | 0.84396 | 14.4092 | 0.39449 | 0.0588 | 0.001 | 451.7855 | 11 | 430.7383 | 11.5746 | 555 | 37 | 430.7383 | 11.5746
CRT_43 | CRT_43 | 480 | 1.275 | 0.030026 | 0.0044 | 0.003306 | 0.0002 | 0.21254 | 294.9853 | 17.4033 | 0.0659 | 0.0091 | 30.0576 | 4.3 | 21.277 | 1.2791 | 730 | 290 | 21.277 | 1.2791
CRT_44 | CRT_44 | 255.9 | 0.88 | 0.26363 | 0.0051 | 0.036687 | 0.00043 | 0.3919 | 27.2109 | 0.31839 | 0.05214 | 0.00095 | 237.7327 | 4.1 | 232.2674 | 2.7011 | 279 | 42 | 232.2674 | 2.7011
CRT_45 | CRT_45 | 210 | 0.409 | 0.028762 | 0.0027 | 0.002956 | 7.8e-05 | 0.12821 | 327.8689 | 8.3848 | 0.0706 | 0.0061 | 28.81 | 2.6 | 19.0277 | 0.5095 | 850 | 170 | 19.0277 | 0.5095
CRT_46 | CRT_46 | 288 | 0.00294 | 0.075632 | 0.0029 | 0.0039424 | 9.4e-05 | 0.25154 | 223.7136 | 4.7045 | 0.1392 | 0.0047 | 74.0747 | 2.7 | 25.3642 | 0.5614 | 2197 | 61 | 25.3642 | 0.5614
CRT_48 | CRT_48 | 324 | 0.003373 | 0.066047 | 0.0024 | 0.0037795 | 7.5e-05 | 0.10719 | 237.5297 | 4.2315 | 0.1268 | 0.0045 | 64.9812 | 2.3 | 24.3181 | 0.46096 | 2016 | 63 | 24.3181 | 0.46096
Sample: SM1 | [20 empty] | Columns added by N.A.P. using IsoplotR
Location: -70.20253 -32.34795 (CRS: EPSG 4326)
|  |  |  | Isotopic Ratios | [8 empty] | AGES | [7 empty] | CONCORDIA AGE
Running Name | Sample Name | U ppm | U/Th | 207Pb / 235U | 2σ Abs Error | 206Pb /238U | 2σ Abs Error | Corr. Coef | 238U / 206Pb | 2σ Abs Error | 207Pb / 206Pb | 2σ Abs Error | 207Pb / 235U Ma | 2σ Abs Error Ma | 206Pb / 238 U Ma | 2σ Abs Error Ma | 207Pb / 206 Pb Ma | 2σ Abs Error Ma | Best Age Ma | 2σ Abs Error Ma | Concordia Age Ma | 2σ Abs Error Ma | Concordia distance
SMa_1 | SM-1_1 | 154.7 | 5.7 | 1.227 | 0.027 | 0.11699 | 0.0017 | 0.56438 | 8.4034 | 0.12005 | 0.0761 | 0.0014 | 813.4818 | 12 | 713.241 | 9.9885 | 1087 | 37 | 713.241 | 9.9885 | 731.252 | 9.898 | 13.6
SMa_2 | SM-1_2 | 130.6 | 1.137 | 0.3803 | 0.012 | 0.024355 | 0.00029 | 0.24496 | 37.6932 | 0.41202 | 0.1133 | 0.0033 | 327.4568 | 8.7 | 155.121 | 1.8333 | 1824 | 53 | 155.121 | 1.8333 | 152.668 | 1.825 | 68.9
SMa_3 | SM-1_3 | 202.6 | 0.98 | 0.25396 | 0.0067 | 0.025736 | 0.00024 | 0.066063 | 37.7501 | 0.34202 | 0.0716 | 0.0019 | 229.9258 | 5.3 | 163.8063 | 1.528 | 952 | 56 | 163.8063 | 1.528 | 167.159 | 1.482 | 29.5
SMa_4 | SM-1_4 | 233 | 0.994 | 0.22907 | 0.0074 | 0.025222 | 0.0003 | 0.28524 | 38.8048 | 0.45174 | 0.0659 | 0.002 | 209.5604 | 6.1 | 160.5756 | 1.9008 | 794 | 60 | 160.5756 | 1.9008 | 160.718 | 1.89 | 23.7
SMa_5 | SM-1_5 | 120.8 | 0.982 | 1.0235 | 0.026 | 0.10229 | 0.0014 | 0.073508 | 9.6246 | 0.12969 | 0.0726 | 0.0019 | 716.1092 | 13 | 627.834 | 8.3828 | 988 | 55 | 627.834 | 8.3828 | 649.367 | 7.317 | 12.6
SMa_6 | SM-1_6 | 179.5 | 1.048 | 1.8116 | 0.025 | 0.17071 | 0.0016 | 0.29994 | 5.8275 | 0.054336 | 0.077 | 0.001 | 1050.2937 | 9.1 | 1016.0332 | 9.2672 | 1120 | 29 | 1016.0332 | 9.2672 | 1031.861 | 7.287 | 3.14
SMa_7 | SM-1_7 | 521.7 | 1.617 | 3.7012 | 0.079 | 0.2783 | 0.0046 | 0.58483 | 3.5997 | 0.059606 | 0.0965 | 0.0017 | 1572.581 | 17 | 1582.7735 | 26.0727 | 1555 | 33 | 1555 | 33 | 1573.409 | 16.696 | -0.657
SMa_8 | SM-1_8 | 635 | 0.559 | 0.25402 | 0.0091 | 0.025671 | 0.00053 | 0.53523 | 37.8358 | 0.75872 | 0.0718 | 0.0021 | 229.9768 | 7.3 | 163.3957 | 3.2808 | 969 | 61 | 163.3957 | 3.2808 | 158.856 | 3.327 | 32
SMa_9 | SM-1_9 | 608 | 0.771 | 0.89986 | 0.0093 | 0.099487 | 0.00096 | 0.31216 | 9.981 | 0.095636 | 0.06563 | 0.0008 | 652.0498 | 5 | 611.4019 | 5.7435 | 790 | 25 | 611.4019 | 5.7435 | 634.652 | 4.33 | 5.29
SMa_10 | SM-1_10 | 507 | 9.22 | 0.71373 | 0.017 | 0.075936 | 0.0011 | 0.46219 | 12.9702 | 0.18505 | 0.0682 | 0.0014 | 547.2936 | 9.8 | 471.8167 | 6.6447 | 868 | 42 | 471.8167 | 6.6447 | 480.597 | 6.585 | 14.3
SMa_11 | SM-1_11 | 322.4 | 0.6 | 0.18017 | 0.0071 | 0.023769 | 0.00038 | 0.45922 | 41.7537 | 0.66248 | 0.055 | 0.0018 | 168.3062 | 6 | 151.4301 | 2.4095 | 397 | 73 | 151.4301 | 2.4095 | 150.822 | 2.388 | 9.46
SMa_12 | SM-1_12 | 368 | 1.268 | 0.18878 | 0.0046 | 0.026547 | 0.00044 | 0.20182 | 37.5657 | 0.62092 | 0.0516 | 0.0014 | 175.6979 | 3.9 | 168.8983 | 2.7842 | 246 | 61 | 168.8983 | 2.7842 | 170.833 | 2.465 | 3.02
SMa_13 | SM-1_13 | 918 | 1.266 | 0.22561 | 0.0043 | 0.025301 | 0.00027 | 0.29652 | 38.7447 | 0.40531 | 0.0647 | 0.0012 | 206.6911 | 3.6 | 161.0728 | 1.6904 | 757 | 39 | 161.0728 | 1.6904 | 164.7 | 1.68 | 21.2
SMa_14 | SM-1_14 | 582 | 0.429 | 0.19441 | 0.0042 | 0.024322 | 0.00031 | 0.26615 | 40.6504 | 0.51226 | 0.058 | 0.0012 | 180.4987 | 3.5 | 154.9115 | 1.9516 | 511 | 48 | 154.9115 | 1.9516 | 158.596 | 1.884 | 12.5
SMa_15 | SM-1_15 | 492 | 1.205 | 1.7593 | 0.02 | 0.17387 | 0.0019 | 0.62899 | 5.7537 | 0.0629 | 0.07342 | 0.00065 | 1031.2081 | 7.5 | 1033.3719 | 10.9743 | 1025 | 19 | 1033.3719 | 10.9743 | 1030.825 | 7.316 | -0.235
SMa_16 | SM-1_16 | 325 | 1.203 | 2.1775 | 0.024 | 0.19944 | 0.0017 | 0.48515 | 5.0125 | 0.042713 | 0.07922 | 0.00082 | 1174.5995 | 7.5 | 1172.3315 | 9.7636 | 1174 | 20 | 1172.3315 | 9.7636 | 1173.364 | 7.113 | 0.121
SMa_17 | SM-1_17 | 761 | 0.3805 | 0.21807 | 0.0045 | 0.026067 | 0.00033 | 0.29166 | 37.8072 | 0.4717 | 0.0607 | 0.0012 | 200.4215 | 3.7 | 165.8872 | 2.0685 | 615 | 43 | 165.8872 | 2.0685 | 170.581 | 2.015 | 15.6
SMa_18 | SM-1_18 | 944 | 1.072 | 0.18848 | 0.0037 | 0.025756 | 0.00031 | 0.25717 | 38.6399 | 0.46284 | 0.0531 | 0.0011 | 175.4405 | 3.3 | 163.9288 | 1.9609 | 325 | 45 | 163.9288 | 1.9609 | 166.262 | 1.832 | 5.39
SM1_1 | SM-1_19 | 872 | 1.668 | 0.17558 | 0.0036 | 0.025531 | 0.00029 | 0.27074 | 39.1389 | 0.44424 | 0.0499 | 0.001 | 164.348 | 3.1 | 162.5155 | 1.841 | 185 | 47 | 162.5155 | 1.841 | 162.827 | 1.733 | 0.858
SM1_2 | SM-1_20 | 1124 | 1.193 | 0.40926 | 0.009 | 0.048682 | 0.0008 | 0.45185 | 20.3169 | 0.33022 | 0.061 | 0.0013 | 348.5567 | 6.5 | 306.4236 | 4.9339 | 630 | 45 | 306.4236 | 4.9339 | 316.457 | 4.729 | 10.8
SM1_3 | SM-1_21 | 1219 | 1.271 | 0.33435 | 0.0047 | 0.045808 | 0.00057 | 0.48179 | 21.8055 | 0.27102 | 0.05296 | 0.00069 | 293.0563 | 3.6 | 288.7334 | 3.5477 | 324 | 31 | 288.7334 | 3.5477 | 290.726 | 3.057 | 1.1
SM1_4 | SM-1_22 | 237.2 | 1.265 | 6.52 | 0.049 | 0.36756 | 0.0021 | 0.53734 | 2.7034 | 0.015348 | 0.12871 | 0.00086 | 2049.8474 | 6.5 | 2017.9059 | 12.1488 | 2078 | 12 | 2078 | 12 | 2044.748 | 6.607 | 1.47
SM1_5 | SM-1_23 | 164.2 | 0.653 | 0.7811 | 0.027 | 0.036875 | 0.00084 | 0.42589 | 23.546 | 0.46571 | 0.1537 | 0.0043 | 586.4697 | 14 | 233.4317 | 4.8138 | 2379 | 48 | 233.4317 | 4.8138 | 210.843 | 5.186 | 95.6
SM1_6 | SM-1_24 | 407.1 | 1.638 | 0.17 | 0.0055 | 0.023496 | 0.00034 | 0.45974 | 42.3729 | 0.61046 | 0.0525 | 0.0016 | 159.5173 | 4.8 | 149.7106 | 2.1621 | 288 | 68 | 149.7106 | 2.1621 | 149.626 | 2.143 | 5.56
SM1_7 | SM-1_25 | 1085 | 2.974 | 1.8733 | 0.026 | 0.1775 | 0.0021 | 0.57028 | 5.618 | 0.06628 | 0.07658 | 0.00088 | 1072.3534 | 9.2 | 1053.2788 | 12.0936 | 1115 | 23 | 1053.2788 | 12.0936 | 1066.952 | 8.933 | 1.52
SM1_8 | SM-1_26 | 138.9 | 2.49 | 0.72653 | 0.017 | 0.084212 | 0.00092 | 0.042867 | 11.8008 | 0.12812 | 0.0626 | 0.0016 | 554.8509 | 10 | 521.2122 | 5.631 | 674 | 58 | 521.2122 | 5.631 | 528.303 | 4.919 | 5.76
SM1_9 | SM-1_27 | 165.5 | 0.829 | 0.60346 | 0.03 | 0.049928 | 0.00081 | 0.064883 | 19.1278 | 0.29636 | 0.0877 | 0.0043 | 479.7211 | 19 | 314.0801 | 5.1194 | 1336 | 95 | 314.0801 | 5.1194 | 320.287 | 4.924 | 40.6
SM1_10 | SM-1_28 | 274.4 | 1.291 | 0.52617 | 0.012 | 0.062897 | 0.00071 | 0.045635 | 15.7729 | 0.17664 | 0.0607 | 0.0015 | 429.5253 | 7.8 | 393.2198 | 4.3885 | 612 | 54 | 393.2198 | 4.3885 | 400.666 | 3.89 | 7.77
SM1_11 | SM-1_29 | 269.5 | 1.772 | 0.50937 | 0.013 | 0.058667 | 0.00064 | 0.076266 | 16.8464 | 0.18163 | 0.063 | 0.0017 | 418.2833 | 8.8 | 367.5111 | 3.9758 | 688 | 57 | 367.5111 | 3.9758 | 374.395 | 3.684 | 11.7
SM1_12 | SM-1_30 | 441 | 0.503 | 0.20097 | 0.0058 | 0.025672 | 0.00033 | 0.19904 | 38.5802 | 0.49118 | 0.0568 | 0.0017 | 186.0558 | 4.9 | 163.4062 | 2.0937 | 467 | 61 | 163.4062 | 2.0937 | 165.422 | 2.028 | 10.9
SM1_13 | SM-1_31 | 313 | 0.736 | 0.21939 | 0.0077 | 0.024011 | 0.00035 | 0.34389 | 40.7332 | 0.58072 | 0.0663 | 0.0021 | 201.5271 | 6.3 | 152.9532 | 2.2038 | 784 | 68 | 152.9532 | 2.2038 | 152.652 | 2.209 | 24.6
SM1_14 | SM-1_32 | 333 | 0.736 | 0.19061 | 0.0057 | 0.023845 | 0.00029 | 0.10358 | 41.4594 | 0.49848 | 0.058 | 0.0018 | 177.2537 | 4.8 | 151.9121 | 1.8462 | 498 | 65 | 151.9121 | 1.8462 | 154.242 | 1.767 | 12.9
SM1_15 | SM-1_33 | 470 | 7.81 | 0.64176 | 0.013 | 0.069605 | 0.00092 | 0.54226 | 14.1563 | 0.18437 | 0.0669 | 0.0011 | 503.7044 | 8 | 433.778 | 5.5725 | 826 | 35 | 433.778 | 5.5725 | 440.592 | 5.592 | 14.3
SM1_16 | SM-1_34 | 1570 | 10.52 | 4.9793 | 0.081 | 0.31173 | 0.0047 | 0.79499 | 3.1686 | 0.047187 | 0.1159 | 0.0012 | 1816.9213 | 14 | 1749.2178 | 26.1981 | 1896 | 17 | 1896 | 17 | 1835.448 | 13.074 | 3.91
SM1_17 | SM-1_35 | 471 | 1.317 | 0.38917 | 0.0071 | 0.052585 | 0.00058 | 0.22671 | 19.0006 | 0.20939 | 0.0537 | 0.001 | 333.9692 | 5.2 | 330.3736 | 3.6081 | 344 | 43 | 330.3736 | 3.6081 | 331.288 | 3.218 | 0.853
SM1_18 | SM-1_36 | 90.8 | 3.39 | 0.82525 | 0.053 | 0.050319 | 0.0012 | 0.34782 | 18.1818 | 0.39669 | 0.119 | 0.0065 | 611.3474 | 28 | 316.4814 | 7.3806 | 1908 | 98 | 316.4814 | 7.3806 | 304.997 | 7.308 | 68.5
SM1_19 | SM-1_37 | 449 | 1.314 | 0.39138 | 0.0093 | 0.051728 | 0.00087 | 0.21893 | 19.2827 | 0.32349 | 0.0549 | 0.0014 | 335.5836 | 6.8 | 325.1203 | 5.4008 | 395 | 59 | 325.1203 | 5.4008 | 328.673 | 4.627 | 2.52
SM1_20 | SM-1_38 | 502 | 7.68 | 0.78392 | 0.011 | 0.08831 | 0.00082 | 0.45636 | 11.236 | 0.10352 | 0.06441 | 0.00083 | 588.075 | 6.4 | 545.5372 | 4.9423 | 751 | 27 | 545.5372 | 4.9423 | 556.285 | 4.651 | 6.85
SM1_21 | SM-1_39 | 164.2 | 1.959 | 1.8271 | 0.025 | 0.17019 | 0.0016 | 0.41172 | 5.8377 | 0.054526 | 0.0779 | 0.001 | 1055.8928 | 9 | 1013.1413 | 9.2571 | 1137 | 27 | 1013.1413 | 9.2571 | 1032.765 | 7.62 | 3.94
SM1_22 | SM-1_40 | 259.7 | 0.881 | 5.8969 | 0.056 | 0.34849 | 0.0032 | 0.62903 | 2.8506 | 0.026003 | 0.12278 | 0.00098 | 1961.9725 | 8.2 | 1927.3824 | 18.1667 | 1995 | 14 | 1995 | 14 | 1963.382 | 8.224 | 1.64
SM1_23 | SM-1_41 | 457 | 1.776 | 0.92399 | 0.014 | 0.10411 | 0.00099 | 0.16858 | 9.563 | 0.090536 | 0.0644 | 0.001 | 664.871 | 7.4 | 638.424 | 5.9418 | 747 | 35 | 638.424 | 5.9418 | 647.491 | 4.949 | 3.63
SM1_24 | SM-1_42 | 248.3 | 0.605 | 0.25341 | 0.0092 | 0.033011 | 0.00047 | 0.038591 | 30.0842 | 0.42538 | 0.0557 | 0.0021 | 229.4785 | 7.5 | 209.3637 | 2.9828 | 407 | 84 | 209.3637 | 2.9828 | 211.783 | 2.772 | 7.75
SM1_25 | SM-1_43 | 402.7 | 4.16 | 1.3039 | 0.021 | 0.13288 | 0.0015 | 0.42664 | 7.4738 | 0.083787 | 0.0712 | 0.0011 | 847.9592 | 9.3 | 804.2728 | 8.8216 | 956 | 32 | 804.2728 | 8.8216 | 821.941 | 7.637 | 4.89
SM1_26 | SM-1_44 | 237 | 2.567 | 1.2201 | 0.024 | 0.12666 | 0.0015 | 0.41634 | 7.8431 | 0.092272 | 0.0699 | 0.0013 | 810.3348 | 11 | 768.7641 | 8.8735 | 915 | 39 | 768.7641 | 8.8735 | 780.17 | 8.094 | 5.15
SM1_27 | SM-1_45 | 340.7 | 0.814 | 0.23816 | 0.012 | 0.023511 | 0.00045 | 0.24862 | 41.2031 | 0.76396 | 0.0735 | 0.0036 | 217.0466 | 9.9 | 149.8102 | 2.8462 | 1000 | 100 | 149.8102 | 2.8462 | 150.23 | 2.84 | 32.9
SM1_28 | SM-1_46 | 243.5 | 2.506 | 2.1396 | 0.028 | 0.19262 | 0.0016 | 0.262 | 5.1706 | 0.042777 | 0.0806 | 0.0012 | 1162.4172 | 9 | 1135.5499 | 9.2718 | 1207 | 28 | 1135.5499 | 9.2718 | 1147.588 | 7.096 | 2.29
SM1_29 | SM-1_47 | 536 | 2.204 | 0.39215 | 0.0095 | 0.052306 | 0.00063 | 0.28537 | 19.084 | 0.22944 | 0.0544 | 0.0013 | 336.1439 | 6.9 | 328.661 | 3.9273 | 378 | 54 | 328.661 | 3.9273 | 329.755 | 3.719 | 1.93
SM1_30 | SM-1_48 | 286.3 | 0.799 | 0.18811 | 0.0071 | 0.023656 | 0.0004 | 0.26474 | 41.806 | 0.6991 | 0.0577 | 0.0022 | 175.1255 | 6.1 | 150.7201 | 2.5371 | 488 | 82 | 150.7201 | 2.5371 | 152.2 | 2.496 | 12.8
SM1_31 | SM-1_49 | 144.6 | 2.57 | 1.8637 | 0.027 | 0.17608 | 0.002 | 0.14851 | 5.6593 | 0.064056 | 0.0768 | 0.0013 | 1068.9584 | 9.6 | 1045.5327 | 11.5931 | 1110 | 34 | 1045.5327 | 11.5931 | 1058.599 | 7.782 | 1.99
SM1_32 | SM-1_50 | 617 | 2.662 | 1.796 | 0.019 | 0.16437 | 0.0013 | 0.44968 | 6.0241 | 0.047177 | 0.07928 | 0.00082 | 1044.6275 | 7.2 | 981.0246 | 7.5137 | 1175 | 20 | 981.0246 | 7.5137 | 1013.178 | 6.184 | 5.85
SM1_33 | SM-1_51 | 365.4 | 0.647 | 0.19825 | 0.006 | 0.023466 | 0.00027 | 0.017189 | 41.9463 | 0.47506 | 0.0613 | 0.0018 | 183.756 | 5.1 | 149.5263 | 1.7163 | 637 | 69 | 149.5263 | 1.7163 | 152.676 | 1.627 | 17.3
SM1_34 | SM-1_52 | 440 | 0.6658 | 0.19895 | 0.0056 | 0.0239 | 0.00029 | 0.16072 | 41.2371 | 0.49314 | 0.0604 | 0.0017 | 184.3455 | 4.7 | 152.2544 | 1.8374 | 593 | 62 | 152.2544 | 1.8374 | 154.787 | 1.787 | 16.2
SM1_35 | SM-1_53 | 201.8 | 0.615 | 0.20052 | 0.0073 | 0.024453 | 0.00036 | 0.15434 | 40.3551 | 0.58627 | 0.0595 | 0.0022 | 185.6762 | 6.2 | 155.7359 | 2.2876 | 561 | 83 | 155.7359 | 2.2876 | 157.883 | 2.222 | 14.9
SM1_36 | SM-1_54 | 253 | 0.7801 | 0.21137 | 0.0061 | 0.02389 | 0.0003 | 0.25075 | 41.0509 | 0.50555 | 0.0642 | 0.0018 | 194.8234 | 5.1 | 152.1919 | 1.8936 | 723 | 63 | 152.1919 | 1.8936 | 153.879 | 1.882 | 21.4
SM1_37 | SM-1_55 | 0.113 | no value | #VALUE! | NAN | #VALUE! | NAN | NaN | 0 | 0 | no value | NAN | #VALUE! | NAN | #VALUE! | #VALUE! | no value | NAN | #VALUE! | #VALUE!
SM1_38 | SM-1_56 | 752 | 0.654 | 0.24528 | 0.0083 | 0.024481 | 0.00032 | 0.34817 | 39.6197 | 0.50231 | 0.0727 | 0.0021 | 222.8735 | 6.7 | 155.9135 | 2.0082 | 1001 | 63 | 155.9135 | 2.0082 | 154.39 | 2.013 | 32.4
SM1_39 | SM-1_57 | 227.1 | 1.259 | 2.4729 | 0.037 | 0.21549 | 0.0024 | 0.65143 | 4.6361 | 0.051584 | 0.08327 | 0.00095 | 1264.921 | 11 | 1257.9743 | 13.6794 | 1271 | 22 | 1257.9743 | 13.6794 | 1262.439 | 10.506 | 0.448
SM1_40 | SM-1_58 | 0.054 | no value | #VALUE! | NAN | #VALUE! | NAN | NaN | 0 | 0 | no value | NAN | #VALUE! | NAN | #VALUE! | #VALUE! | no value | NAN | #VALUE! | #VALUE!
SM1_41 | SM-1_59 | 694.7 | 0.666 | 0.22568 | 0.0055 | 0.024117 | 0.00031 | 0.38386 | 40.4695 | 0.50771 | 0.0679 | 0.0015 | 206.7546 | 4.5 | 153.623 | 1.9362 | 865 | 44 | 153.623 | 1.9362 | 154.215 | 1.959 | 26.2
SM1_42 | SM-1_60 | 316.3 | 0.947 | 2.979 | 0.041 | 0.23242 | 0.0023 | 0.62449 | 4.2644 | 0.041826 | 0.093 | 0.001 | 1403.1277 | 10 | 1347.1891 | 12.9862 | 1484 | 20 | 1484 | 20 | 1383.21 | 10.339 | 3.85
SM1_43 | SM-1_61 | 366 | 0.935 | 0.35228 | 0.0077 | 0.042673 | 0.00042 | 0.1929 | 23.1857 | 0.22578 | 0.0599 | 0.0013 | 306.6207 | 5.8 | 269.3808 | 2.6276 | 587 | 48 | 269.3808 | 2.6276 | 273.245 | 2.527 | 11.4
SM1_44 | SM-1_62 | 443.8 | 1.509 | 0.41456 | 0.009 | 0.047445 | 0.0005 | 0.26041 | 20.7771 | 0.21584 | 0.0634 | 0.0014 | 352.3661 | 6.4 | 298.8152 | 3.1069 | 709 | 46 | 298.8152 | 3.1069 | 303.751 | 3.029 | 14.9
SM1_45 | SM-1_63 | 248.3 | 4.2 | 1.5843 | 0.033 | 0.1446 | 0.0021 | 0.53938 | 6.812 | 0.097447 | 0.0795 | 0.0014 | 964.6625 | 13 | 870.6337 | 12.1762 | 1178 | 35 | 870.6337 | 12.1762 | 902.417 | 11.386 | 10.2
SM1_46 | SM-1_64 | 307.5 | 0.836 | 0.3393 | 0.0068 | 0.043574 | 0.00039 | 0.094908 | 22.8102 | 0.20292 | 0.0565 | 0.0012 | 296.819 | 5.2 | 274.9464 | 2.4497 | 448 | 49 | 274.9464 | 2.4497 | 278.194 | 2.265 | 6.56
SM1_47 | SM-1_65 | 1246 | 2.233 | 1.7135 | 0.02 | 0.16902 | 0.0021 | 0.77348 | 5.9102 | 0.073353 | 0.07356 | 0.00061 | 1014.2041 | 7.5 | 1006.6926 | 12.126 | 1028 | 16 | 1006.6926 | 12.126 | 1014.943 | 7.348 | 0.651
SM1_48 | SM-1_66 | 717 | 15.57 | 1.1014 | 0.017 | 0.11982 | 0.0021 | 0.39164 | 8.3126 | 0.14511 | 0.0667 | 0.0011 | 754.5062 | 8.3 | 729.527 | 12.4164 | 825 | 36 | 729.527 | 12.4164 | 748.779 | 7.903 | 2.75
SM1_49 | SM-1_67 | 365 | 0.971 | 0.18826 | 0.0039 | 0.025822 | 0.00026 | 0.18392 | 38.5505 | 0.3864 | 0.0529 | 0.0011 | 175.2489 | 3.3 | 164.3476 | 1.6498 | 300 | 47 | 164.3476 | 1.6498 | 165.85 | 1.563 | 5.25
SM1_50 | SM-1_68 | 464.4 | 1.826 | 0.36259 | 0.0071 | 0.04787 | 0.00059 | 0.48656 | 20.8203 | 0.25576 | 0.05496 | 0.00096 | 314.339 | 5.3 | 301.4321 | 3.6677 | 396 | 39 | 301.4321 | 3.6677 | 303.513 | 3.554 | 3.58
SM1_51 | SM-1_69 | 240 | 0.8 | 0.018012 | 0.0024 | 0.00045857 | 4.4e-05 | 0.03659 | 1517.451 | 101.3169 | 0.285 | 0.031 | 18.1373 | 2.3 | 2.9555 | 0.25939 | 3230 | 210 | 2.9555 | 0.25939 | 3.098 | 0.283 | 147
SM1_52 | SM-1_70 | 156.5 | 0.819 | 0.020156 | 0.0039 | 0.0003869 | 7e-05 | 0.073439 | 1492.537 | 155.9367 | 0.378 | 0.07 | 20.2745 | 3.9 | 2.4936 | 0.46523 | 3450 | 320 | 2.4936 | 0.46523 | 2.577 | 0.451 | 170
SM1_53 | SM-1_71 | 1210 | 1.039 | 0.16766 | 0.0035 | 0.023658 | 0.00027 | 0.0001 | 42.1407 | 0.47948 | 0.05142 | 0.00098 | 157.4804 | 3.1 | 150.7361 | 1.7123 | 250 | 44 | 150.7361 | 1.7123 | 152.308 | 1.487 | 3.4
SM1_54 | SM-1_72 | 408 | 0.5548 | 0.18272 | 0.0055 | 0.024462 | 0.00031 | 0.13203 | 40.6174 | 0.51143 | 0.0542 | 0.0017 | 170.5039 | 4.7 | 155.792 | 1.9753 | 360 | 70 | 155.792 | 1.9753 | 157.352 | 1.881 | 7.49
SM1_55 | SM-1_73 | 659 | 1.628 | 0.17364 | 0.0048 | 0.02437 | 0.00044 | 0.48302 | 40.8998 | 0.73603 | 0.0517 | 0.0013 | 162.6758 | 4.2 | 155.2183 | 2.7832 | 259 | 55 | 155.2183 | 2.7832 | 156.317 | 2.716 | 3.79
SM1_56 | SM-1_74 | 1846 | 1.194 | 0.19846 | 0.0034 | 0.024721 | 0.00042 | 0.49591 | 39.984 | 0.67146 | 0.05825 | 0.00098 | 183.9306 | 2.9 | 157.4223 | 2.6301 | 530 | 38 | 157.4223 | 2.6301 | 167.985 | 2.409 | 11.7
SM1_57 | SM-1_75 | 704 | 1.605 | 0.17627 | 0.004 | 0.025631 | 0.00039 | 0.45841 | 38.9864 | 0.59278 | 0.0499 | 0.001 | 164.9443 | 3.4 | 163.1463 | 2.4688 | 185 | 46 | 163.1463 | 2.4688 | 163.5 | 2.36 | 0.828
SM1_58 | SM-1_76 | 675 | 2.848 | 0.38136 | 0.0053 | 0.051472 | 0.00053 | 0.45207 | 19.4062 | 0.1996 | 0.05376 | 0.00071 | 328.2369 | 3.9 | 323.5502 | 3.2895 | 353 | 30 | 323.5502 | 3.2895 | 325.058 | 2.993 | 1.12
SM1_59 | SM-1_77 | 691 | 1.552 | 0.16654 | 0.0036 | 0.024023 | 0.00025 | 0.24606 | 41.5628 | 0.43187 | 0.0503 | 0.0011 | 156.5036 | 3.2 | 153.0337 | 1.5922 | 196 | 48 | 153.0337 | 1.5922 | 153.463 | 1.523 | 1.8
SM1_60 | SM-1_78 | 170.1 | 1.251 | 0.21374 | 0.011 | 0.023392 | 0.00039 | 0.052146 | 41.806 | 0.68162 | 0.0663 | 0.0033 | 196.8066 | 8.8 | 149.0578 | 2.4952 | 770 | 110 | 149.0578 | 2.4952 | 151.487 | 2.409 | 23.9
SM1_61 | SM-1_79 | 186.4 | 0.7249 | 0.25306 | 0.0074 | 0.022952 | 0.00035 | 0.069324 | 41.841 | 0.61273 | 0.08 | 0.0026 | 229.1981 | 6.2 | 146.2878 | 2.1862 | 1170 | 64 | 146.2878 | 2.1862 | 153.719 | 2.133 | 37.9
SM1_62 | SM-1_80 | 201 | 0.811 | 0.18046 | 0.0056 | 0.025675 | 0.00033 | 0.24278 | 38.8651 | 0.49846 | 0.051 | 0.0016 | 168.5609 | 4.8 | 163.4225 | 2.1051 | 218 | 66 | 163.4225 | 2.1051 | 163.834 | 2.038 | 2.57
SM1_63 | SM-1_81 | 555.5 | 0.5258 | 0.18437 | 0.0061 | 0.022674 | 0.00027 | 0.24078 | 43.535 | 0.51173 | 0.059 | 0.0019 | 171.9207 | 5.2 | 144.5367 | 1.7231 | 546 | 70 | 144.5367 | 1.7231 | 145.241 | 1.699 | 15
SM1_64 | SM-1_82 | 192.1 | 4.5 | 0.40082 | 0.016 | 0.047522 | 0.00081 | 0.090704 | 20.803 | 0.35054 | 0.0612 | 0.0026 | 342.4535 | 11 | 299.2904 | 5.0696 | 622 | 89 | 299.2904 | 5.0696 | 304.618 | 4.75 | 11.9
SM1_65 | SM-1_83 | 120.6 | 1.09 | 1.8986 | 0.049 | 0.16821 | 0.0034 | 0.72055 | 5.872 | 0.11723 | 0.0819 | 0.0015 | 1081.2653 | 17 | 1002.2344 | 19.4765 | 1234 | 35 | 1002.2344 | 19.4765 | 1048.832 | 17.713 | 6.88
SM1_66 | SM-1_84 | 714 | 0.525 | 0.16305 | 0.0036 | 0.022665 | 0.00021 | 0.21783 | 43.9367 | 0.40539 | 0.0522 | 0.0012 | 153.4661 | 3.2 | 144.4762 | 1.3416 | 280 | 49 | 144.4762 | 1.3416 | 145.228 | 1.297 | 5.02
SM1_67 | SM-1_85 | 95.3 | 2.205 | 1.8782 | 0.037 | 0.17229 | 0.0026 | 0.092257 | 5.7604 | 0.086273 | 0.0791 | 0.0019 | 1074.0927 | 13 | 1024.7302 | 15.0734 | 1164 | 47 | 1024.7302 | 15.0734 | 1050.981 | 10.238 | 4.36
SM1_68 | SM-1_86 | 378 | 1.117 | 0.18734 | 0.0063 | 0.025456 | 0.00036 | 0.21257 | 39.0778 | 0.54975 | 0.0534 | 0.0018 | 174.4648 | 5.3 | 162.045 | 2.2914 | 322 | 74 | 162.045 | 2.2914 | 163.092 | 2.217 | 6.2
SM1_69 | SM-1_87 | 141.7 | 0.941 | 0.24519 | 0.011 | 0.028649 | 0.0005 | 0.12902 | 34.3525 | 0.59005 | 0.0621 | 0.0029 | 222.8006 | 9.1 | 182.0886 | 3.173 | 640 | 98 | 182.0886 | 3.173 | 184.896 | 3.071 | 17.4
SM1_70 | SM-1_88 | 458.1 | 4.589 | 0.67259 | 0.008 | 0.082857 | 0.00066 | 0.29053 | 12.0482 | 0.095805 | 0.0589 | 0.00072 | 522.6023 | 4.9 | 513.1509 | 4.0162 | 557 | 27 | 513.1509 | 4.0162 | 516.354 | 3.466 | 1.53
SM1_71 | SM-1_89 | 365.1 | 1.468 | 0.18067 | 0.0054 | 0.02341 | 0.00035 | 0.071407 | 42.337 | 0.62735 | 0.056 | 0.0018 | 168.7402 | 4.7 | 149.1685 | 2.2204 | 434 | 72 | 149.1685 | 2.2204 | 152.313 | 2.051 | 9.96
SM1_72 | SM-1_90 | 477 | 2.972 | 0.80037 | 0.0095 | 0.096405 | 0.00088 | 0.54006 | 10.3659 | 0.094558 | 0.06024 | 0.00059 | 597.3987 | 5.3 | 593.3035 | 5.2958 | 619 | 22 | 593.3035 | 5.2958 | 595.02 | 4.627 | 0.533
SM1_73 | SM-1_91 | 72.5 | 2.173 | 2.5141 | 0.039 | 0.20112 | 0.002 | 0.20851 | 4.8972 | 0.047964 | 0.0907 | 0.0014 | 1276.886 | 11 | 1181.3563 | 11.4279 | 1433 | 30 | 1433 | 30 | 1223.026 | 8.849 | 8.04
SM1_74 | SM-1_92 | 315 | 1.83 | 0.96689 | 0.01 | 0.1004 | 0.00084 | 0.50515 | 9.8377 | 0.081295 | 0.06988 | 0.00066 | 687.2765 | 5.3 | 616.7296 | 4.9943 | 919 | 19 | 616.7296 | 4.9943 | 645.636 | 4.534 | 9.48
SM1_75 | SM-1_93 | 52.5 | 0.775 | 0.39726 | 0.022 | 0.040428 | 0.0008 | 0.059345 | 24.1022 | 0.46473 | 0.0713 | 0.004 | 339.8672 | 16 | 255.4847 | 5.0433 | 900 | 120 | 255.4847 | 5.0433 | 260.915 | 4.842 | 25.8
SM1_76 | SM-1_94 | 46.85 | 12.6 | 0.96839 | 0.039 | 0.096652 | 0.0017 | 0.23304 | 10.1729 | 0.17593 | 0.0727 | 0.0028 | 688.0513 | 20 | 594.7555 | 10.2555 | 980 | 81 | 594.7555 | 10.2555 | 604.669 | 9.801 | 14.9
SM1_77 | SM-1_95 | 377 | 0.567 | 0.19149 | 0.0068 | 0.023235 | 0.00042 | 0.14916 | 42.4448 | 0.75666 | 0.0598 | 0.0022 | 178.0098 | 5.9 | 148.0689 | 2.6532 | 575 | 84 | 148.0689 | 2.6532 | 151.794 | 2.539 | 15.2
SM1_78 | SM-1_96 | 303.8 | 3.07 | 1.3419 | 0.022 | 0.12125 | 0.0014 | 0.45099 | 8.071 | 0.091198 | 0.0803 | 0.0011 | 864.5594 | 9.2 | 737.7571 | 8.1691 | 1199 | 29 | 737.7571 | 8.1691 | 773.149 | 7.795 | 15.6
SM1_79 | SM-1_97 | 616 | 0.944 | 0.41496 | 0.01 | 0.055656 | 0.001 | 0.64818 | 17.9533 | 0.32232 | 0.0541 | 0.0011 | 352.6591 | 7.3 | 349.1501 | 6.1845 | 364 | 45 | 349.1501 | 6.1845 | 350.056 | 5.913 | 0.788
SM1_80 | SM-1_98 | 240 | 3.199 | 0.44745 | 0.0099 | 0.053487 | 0.00083 | 0.17147 | 18.5151 | 0.28453 | 0.0607 | 0.0015 | 375.7215 | 6.9 | 335.8961 | 5.1206 | 625 | 52 | 335.8961 | 5.1206 | 348.041 | 4.47 | 9.22
SM1_81 | SM-1_99 | 558 | 0.5245 | 0.17296 | 0.0039 | 0.023241 | 0.00025 | 0.018511 | 42.7533 | 0.45696 | 0.054 | 0.0013 | 162.0846 | 3.3 | 148.1049 | 1.5902 | 359 | 55 | 148.1049 | 1.5902 | 150.486 | 1.441 | 7.24
SM1_82 | SM-1_100 | 479 | 0.96 | 0.19349 | 0.0047 | 0.026242 | 0.00034 | 0.23026 | 37.9075 | 0.48857 | 0.0535 | 0.0013 | 179.7104 | 4 | 166.9841 | 2.1519 | 336 | 55 | 166.9841 | 2.1519 | 168.911 | 2.044 | 5.98
SM1_83 | SM-1_101 | 1420 | 0.474 | 0.20887 | 0.0032 | 0.02383 | 0.00023 | 0.3525 | 41.1862 | 0.39015 | 0.0636 | 0.001 | 192.7227 | 2.7 | 151.8136 | 1.4409 | 721 | 34 | 151.8136 | 1.4409 | 155.789 | 1.432 | 20
SM1_84 | SM-1_102 | 203.7 | 0.714 | 0.22162 | 0.009 | 0.023137 | 0.00028 | 0.12779 | 42.0875 | 0.49598 | 0.0695 | 0.0028 | 203.3794 | 7.4 | 147.4538 | 1.8072 | 888 | 81 | 147.4538 | 1.8072 | 148.687 | 1.758 | 28.1
SM1_85 | SM-1_103 | 504 | 1.958 | 0.39303 | 0.0061 | 0.049228 | 0.00046 | 0.12114 | 20.1735 | 0.18721 | 0.05793 | 0.00098 | 336.7842 | 4.4 | 309.7815 | 2.8585 | 516 | 38 | 309.7815 | 2.8585 | 316.599 | 2.527 | 6.94
SM1_86 | SM-1_104 | 117.3 | 1.098 | 0.2205 | 0.0083 | 0.024096 | 0.00033 | 0.026854 | 40.5844 | 0.54354 | 0.0664 | 0.0025 | 202.4521 | 6.9 | 153.4897 | 2.1 | 775 | 81 | 153.4897 | 2.1 | 156.993 | 2.012 | 23.6
SM1_87 | SM-1_105 | 370.7 | 0.5203 | 0.17968 | 0.0042 | 0.02401 | 0.00026 | 0.32126 | 41.3736 | 0.44506 | 0.0543 | 0.0012 | 167.8842 | 3.7 | 152.947 | 1.6493 | 376 | 50 | 152.947 | 1.6493 | 153.862 | 1.625 | 7.9
SM1_88 | SM-1_106 | 468.9 | 0.54 | 0.17557 | 0.0042 | 0.023247 | 0.00027 | 0.25418 | 42.6985 | 0.49225 | 0.0548 | 0.0012 | 164.3401 | 3.6 | 148.1421 | 1.7102 | 399 | 53 | 148.1421 | 1.7102 | 149.733 | 1.665 | 8.62
SM1_89 | SM-1_107 | 53.4 | 1.309 | 3.1362 | 0.051 | 0.24681 | 0.0028 | 0.35671 | 4.0388 | 0.045673 | 0.0922 | 0.0015 | 1442.4903 | 13 | 1422.0048 | 15.9514 | 1463 | 31 | 1463 | 31 | 1433.876 | 11.088 | 1.37
SM1_90 | SM-1_108 | 297 | 0.3587 | 0.90812 | 0.012 | 0.10052 | 0.001 | 0.30661 | 9.8814 | 0.097643 | 0.06555 | 0.00089 | 656.4562 | 6.3 | 617.4702 | 5.9865 | 785 | 29 | 617.4702 | 5.9865 | 633.818 | 5.007 | 5.29
SM1_91 | SM-1_109 | 216.6 | 1.161 | 0.55099 | 0.012 | 0.064692 | 0.00078 | 0.43052 | 15.3186 | 0.18304 | 0.0618 | 0.0013 | 445.9165 | 7.6 | 404.0958 | 4.7859 | 657 | 45 | 404.0958 | 4.7859 | 408.442 | 4.689 | 9.2
SM1_92 | SM-1_110 | 88.5 | 0.818 | 1.5921 | 0.026 | 0.1514 | 0.0017 | 0.17298 | 6.5445 | 0.072812 | 0.0763 | 0.0014 | 967.7085 | 10 | 908.8319 | 9.9334 | 1092 | 36 | 908.8319 | 9.9334 | 934.596 | 7.688 | 5.92
SM1_93 | SM-1_111 | 82.8 | 0.869 | 0.42419 | 0.014 | 0.047062 | 0.0008 | 0.30176 | 20.8899 | 0.34911 | 0.0654 | 0.0021 | 359.2599 | 9.9 | 296.4612 | 4.9495 | 774 | 70 | 296.4612 | 4.9495 | 301.715 | 4.879 | 17.4
SM1_94 | SM-1_112 | 166.1 | 0.727 | 2.7943 | 0.031 | 0.22384 | 0.0017 | 0.43071 | 4.4307 | 0.033372 | 0.09058 | 0.00099 | 1354.8356 | 8.3 | 1302.1207 | 9.6842 | 1434 | 21 | 1434 | 21 | 1330.464 | 7.452 | 3.93

## La.Te. Andes (sample SM3)
| Condiciones de medición ICPMS | [5 empty] | Los análisis de U/Pb fueron llevados a cabo en el en el Centro Tecnológico Productivo I+D LA.TE. ANDES, con una combinación instrumental de LA-ICP-MS (Laser Ablation - Inductively Coupled Plasma Mass Spectrometry): un láser de ablación RESOlution 193 nm fabricado por Applied Spectra y un ICP-MS triple cuadrupolo modelo 8900 fabricado por Agilent Technologies. Esta técnica permite realizar análisis isotópicos puntuales en granos individuales de circón. Para ello, los granos se seleccionaron evitando en lo posible inclusiones o fracturas. Las mediciones incluyen en general un spot por circón analizado; sin embrago, se seleccionan algunos circones donde, si la morfología lo permite, se realizan dos o más spots con el objetivo de corroborar concordancia en las edades calculadas para un mismo grano. El diámetro de spot se selecciona de acuerdo al tamaño y la homogeneidad de los circones, pudiendo variar entre 20, 24 o 30 μm. A mayor diámetro de spot se selecciona un menor valor de fluencia, de acuerdo a los resultados reportados por Mukherjee et. al., 2019; y, en general, una frecuencia también menor, la cual se selecciona en base a la menor dispersión estándar relativa (RSD) lograda durante la sintonización del ICP-MS en modo LA-ICPMS. La sintonización del ICP-MS se realiza en dos etapas. En la primera etapa se optimizan la sensibilidad y la estabilidad en modo solución utilizando una solución de sintonización Agilent conteniendo 1 ppb de 7 Li, 89Y y 205Tl. En la segunda etapa, la sintonización se realiza en modo LA-ICPMS usando una ablación lineal (diámetro de spot y fluencia de acuerdo a los que se usarán en la secuencia de medición, frecuencia entre 5 y 10 Hz, velocidad de scan de 1 μm/s) sobre vidrio NIST SRM 612 para alcanzar una intensidad máxima en cps (cuentas por segundo) en la masa 238 de modo que se cumplan las relaciones 238U/232Th≈1.05, 207Pb/206Pb≈0.917, 208Pb/206Pb≈2.17 y 248ThO/232Th˂0.3%; y con una RSD ≤ 5%. Se adicionó un caudal de 4 a 5 ml/min de N2 para favorecer la ionización de los elementos en el plasma (Solari et. al., 2009). El caudal de He fue de 370 ml/min. Las concentraciones elementales se obtienen considerando el vidrio NIST 610 como material de referencia (RM) primario y NIST 612 como RM secundario (Jochum et al. 2011). Las edades UPb se calculan a partir de las relaciones isotópicas empleando circón 91500 como material de referencia (Wiedenbeck et al. 2004) y mediciones repetidas sobre circón Plesovice (edad TIMS de referencia 337.13 +/- 0.37 Ma; Slama et al., 2008) como testigo. Una secuencia analítica típica, consiste en 100-130 granos de una muestra, al comienzo y al final de cada muestra tres mediciones de vidrio NIST SRM612 y 610, tres de 91500 y dos de Plesovice; con un punto de análisis de Plesovice y uno de 91500 después de cada 20-30 análisis. La precisión de los resultados, se confirma a través de la obtención de la edad 206Pb/238U media ponderada del testigo (Plesovice). La secuencia analítica comprende 25 segundos de mediciones de fondo (sin ablación), seguidas de 25 segundos de ablación y 35 segundos de lavado (láser apagado). Para las concentraciones elementales se monitorearon las siguientes masas (Símbolo químco, dwell time) mediante ICP-MS: 29 (Si, 50 ms), 31 (P, 100 ms), 45 (Sc, 5 ms), 47 (Ti, 10 ms), 88 (Sr, 10 ms), 89 (Y, 5 ms), 91 (Zr, 10 ms), 93 (Nb, 10 ms), 95 (Mo, 5 ms), 139 (La, 5 ms), 140 (Ce, 5 ms), 141 (Pr, 5 ms), 146 (Nd, 5 ms), 147 (Sm, 5 ms), 153 (Eu, 5 ms), 157 (Gd, 5 ms), 159 (Tb, 5 ms), 163 (Dy, 5 ms), 165 (Ho, 5 ms), 166 (Er, 5 ms), 169 (Tm, 5 ms), 172 (Yb, 5 ms), 175 (Lu, 5 ms), 178 (Hf, 10 ms), 181 (Ta, 5 ms), 206 (Pb, 25 ms), 207 (Pb, 70 ms), 208 (Pb, 25 ms), 232 (Th, 10 ms), 235 (U, 50 ms) y 238 (U, 20ms). Se informa el Pb de acuerdo a la señal obtenida del 208Pb.
| Mass | Dwell Times (ms)
| 29Si | 50
| 91Zr | 10
| 206Pb | 25
| 207Pb | 70
| 208Pb | 25
| 232Th | 10
| 235U | 50
| 238U | 25
| Condiciones de Ablación |  | C767 SEQ1 | C767 SEQ2
| Spot |  | 30 μm | 38 μm
| Frecuency |  | 9 Hz | 9 Hz
| Fluence |  | 3 J.cm-² | 3 J.cm-²
| Ablation time |  | 25 s | 25 s
| Caudal N2 |  | 4 ml.min-1 | 4 ml.min-1
| Caudal He |  | 370 ml.min-1 | 370 ml.min-1
Cálculo de edad Upb
| Material de Referencia Primario |  | Zr 91500 |  |  |  | Jochum, K. P., Weis, U., Stoll, B., Kuzmin, D., Yang, Q., Raczek, I.,Enzweiler, J. (2011). Determination of Reference Values for NIST SRM 610-617 Glasses Following ISO Guidelines. Geostandards and Geoanalytical Research, 35(4), 397–429. doi:10.1111/j.1751-908x.2011.00120.x
| Material Testigo |  | Zr Plesovice
Mukherjee, P.K., Souders, A.K., Sylvester, P.J. (2019). Accuracy and precision of U-Pb zircon geochronology at high spatial resolution (7-20 μm spots) by laser ablation-ICP-single-collector-sector-field-mass-spectrometry. JAAS 34, 180-192. DOI: 10.1039/c8ja00321a
| Reducción de Datos | [5 empty] | Solari, L.A., Gómez-Tuena, A., Bernal, J.P., Pérez-Arvizu, O, Tanner, Martin. (2009). U-Pb Zircon Geochronology with na integrated LA-ICPMS microanalytical workstation: Achievments in precision and accuracy. Geostandards and Geoanalytical Research, 34(1), 5–18.
| Software Version |  |  | LADR 1.1.07
| Reported Uncertainty Level |  |  | Within-Run Analytical Precision |  |  | Wiedenbeck M. et. al. (2004) Further caracterisation of the 91500 zircon crystal. Geostandards and Geoanalytical Research, 28(1), 9–39.
| Reported Uncertainty |  |  | 1 x Unc.(ratios) / 1 x Unc. (Comp)
Sample: SM3 | [21 empty] | Columns added by N.A.P. using IsoplotR
Location: -70.15161 -32.30022 (CRS: EPSG 4326)
|  |  | Contenidos químicos |  |  | Relaciones radiogénicas | [7 empty] | Edad Isotópica (Ma) | [5 empty] | Edad Recomendada |  | CONCORDIA AGE
Muestra-punto | SEQ |  | Th (ppm) | U (ppm) | Th/U (másica) | 207Pb/ 235U | 1ѳ | 206Pb/ 238U | 1ѳ | 207Pb/ 206Pb | 1ѳ | Rho XY | Rho YZ | 206Pb/ 238U | 1ѳ | 207Pb/ 235U | 1ѳ | 207Pb/ 206Pb | 1ѳ | Edad Preferida | 1ѳ | Concordia Age Ma | 2σ Abs Error Ma | Concordia distance
C767 - 23 | 1 |  | 1316.8801 | 2092.1056 | 0.62945 | 0.012271 | 0.00065259 | 0.0015985 | 2.6249e-05 | 0.051479 | 0.0028253 | 0.040222 | 0.0092905 | 10.2961 | 0.16907 | 12.3835 | 0.6586 | 261.2938 | 14.3407 | 10.2961 | 0.16907 | 10.408 | 0.33019 | 8.3
C767 - 17 | 2 |  | 119.1319 | 142.391 | 0.83665 | 0.014721 | 0.0026043 | 0.0016157 | 0.00013428 | 0.065532 | 0.012424 | 0.051562 | 0.010808 | 10.4073 | 0.86494 | 14.8386 | 2.6251 | 790.5331 | 149.8743 | 10.4073 | 0.86494 | 10.7876 | 1.665 | 27
C767 - 53 | 2 |  | 1106.2291 | 1272.3251 | 0.86945 | 0.010805 | 0.00099466 | 0.0016343 | 4.3078e-05 | 0.046632 | 0.0046907 | 0.04331 | 0.0091838 | 10.5268 | 0.27747 | 10.9119 | 1.0045 | 29.3702 | 2.9543 | 10.5268 | 0.27747 | 10.5506 | 0.5399 | 0.57
C767 - 23 | 2 |  | 304.9522 | 525.2418 | 0.58059 | 0.013319 | 0.0013463 | 0.0016859 | 6.5973e-05 | 0.056126 | 0.0059384 | 0.049004 | 0.01111 | 10.8589 | 0.42493 | 13.4343 | 1.358 | 456.3709 | 48.2859 | 10.8589 | 0.42493 | 11.0598 | 0.82077 | 15
C767 - 11 | 2 |  | 336.6083 | 466.3538 | 0.72179 | 0.012136 | 0.0013218 | 0.0016869 | 8.3762e-05 | 0.051448 | 0.0062497 | 0.063368 | 0.013403 | 10.8651 | 0.53951 | 12.2483 | 1.3341 | 259.9211 | 31.5742 | 10.8651 | 0.53951 | 11.0381 | 1.0197 | 8.1
C767 - 18 | 1 |  | 502.3287 | 655.2605 | 0.76661 | 0.011659 | 0.0010389 | 0.0016924 | 5.0508e-05 | 0.047449 | 0.0042981 | 0.048618 | 0.011751 | 10.9008 | 0.32532 | 11.7699 | 1.0488 | 70.8032 | 6.4137 | 10.9008 | 0.32532 | 10.9676 | 0.62872 | 1.8
C767 - 01 | 1 |  | 4172.2745 | 3979.857 | 1.0483 | 0.011639 | 0.00042632 | 0.0016984 | 2.2528e-05 | 0.046699 | 0.0016905 | 0.052842 | 0.013326 | 10.9394 | 0.1451 | 11.7496 | 0.43038 | 32.8128 | 1.1878 | 10.9394 | 0.1451 | 11.0121 | 0.2788 | 0.66
C767 - 16 | 2 |  | 31.2842 | 149.8495 | 0.20877 | 0.014015 | 0.0031375 | 0.0017031 | 0.00016417 | 0.0612 | 0.014656 | 0.052325 | 0.011201 | 10.9697 | 1.0574 | 14.1323 | 3.1637 | 645.2996 | 154.5398 | 10.9697 | 1.0574 | 11.2486 | 2.0331 | 22
C767 - 36 | 2 |  | 397.3682 | 697.652 | 0.56958 | 0.011716 | 0.0011109 | 0.0017164 | 5.8302e-05 | 0.048395 | 0.0047251 | 0.052483 | 0.012339 | 11.0554 | 0.37552 | 11.8269 | 1.1214 | 117.5709 | 11.4791 | 11.0554 | 0.37552 | 11.1237 | 0.7218 | 3.4
C767 - 08 | 1 |  | 397.3355 | 424.5758 | 0.93584 | 0.011147 | 0.001012 | 0.0017223 | 6.0229e-05 | 0.046302 | 0.0043512 | 0.059517 | 0.013842 | 11.0933 | 0.38793 | 11.256 | 1.0219 | 12.323 | 1.158 | 11.0933 | 0.38793 | 11.1115 | 0.7378 | 0.12
C767 - 20 | 2 |  | 202.9796 | 193.9331 | 1.0466 | 0.013459 | 0.0021685 | 0.0017316 | 0.00013828 | 0.054696 | 0.0093147 | 0.063766 | 0.014845 | 11.1531 | 0.89064 | 13.5747 | 2.1872 | 398.8343 | 67.9209 | 11.1531 | 0.89064 | 11.4596 | 1.6822 | 13
C767 - 05 | 2 |  | 650.5197 | 1043.399 | 0.62346 | 0.011469 | 0.0010328 | 0.0017342 | 6.5805e-05 | 0.045696 | 0.0045105 | 0.063718 | 0.014589 | 11.1699 | 0.42383 | 11.5795 | 1.0427 | 7.276e-08 | 7.182e-09 | 11.1699 | 0.42383 | 11.2217 | 0.80052 | -1.3
C767 - 33 | 1 |  | 48.6452 | 58.1659 | 0.83632 | 0.013357 | 0.0029681 | 0.0017343 | 0.00018631 | 0.054942 | 0.012974 | 0.062772 | 0.014361 | 11.1703 | 1.2 | 13.4722 | 2.9938 | 408.8487 | 96.5457 | 11.1703 | 1.2 | 11.4535 | 2.2704 | 13
C767 - 46 | 2 |  | 590.4072 | 1472.8946 | 0.40085 | 0.01151 | 0.0016349 | 0.0017349 | 5.8832e-05 | 0.044693 | 0.0060082 | 0.035986 | 0.009792 | 11.174 | 0.37893 | 11.6202 | 1.6505 | 7.276e-08 | 9.7814e-09 | 11.174 | 0.37893 | 11.1933 | 0.74322 | -2.9
C767 - 17 | 1 |  | 311.9422 | 535.5195 | 0.5825 | 0.012186 | 0.0010995 | 0.0017555 | 6.0561e-05 | 0.049204 | 0.0045359 | 0.055079 | 0.013352 | 11.307 | 0.39006 | 12.2984 | 1.1097 | 156.5213 | 14.4289 | 11.307 | 0.39006 | 11.4031 | 0.74691 | 4.7
C767 - 28 | 2 |  | 1279.3531 | 985.7485 | 1.2978 | 0.012013 | 0.0013318 | 0.0017571 | 9.3334e-05 | 0.047795 | 0.0052429 | 0.070083 | 0.017802 | 11.317 | 0.60114 | 12.1256 | 1.3442 | 88.0641 | 9.6603 | 11.317 | 0.60114 | 11.438 | 1.1229 | 2.3
C767 - 51 | 2 |  | 547.3808 | 542.5196 | 1.009 | 0.012783 | 0.0015652 | 0.0017576 | 7.1049e-05 | 0.0517 | 0.0062464 | 0.045393 | 0.011374 | 11.3203 | 0.45761 | 12.8971 | 1.5792 | 271.1554 | 32.7607 | 11.3203 | 0.45761 | 11.4268 | 0.88803 | 8.7
C767 - 40 | 1 |  | 2294.9916 | 987.3966 | 2.3243 | 0.012211 | 0.00074953 | 0.0017686 | 4.1158e-05 | 0.046661 | 0.0028874 | 0.054912 | 0.014254 | 11.3908 | 0.26509 | 12.3236 | 0.75645 | 30.8653 | 1.91 | 11.3908 | 0.26509 | 11.4807 | 0.50775 | 0.65
C767 - 04 | 2 |  | 86.4599 | 133.4422 | 0.64792 | 0.020853 | 0.0032853 | 0.0017692 | 0.00014549 | 0.079767 | 0.014048 | 0.044286 | 0.010357 | 11.395 | 0.93708 | 20.9559 | 3.3016 | 1190.3435 | 209.64 | 11.395 | 0.93708 | 12.0142 | 1.8211 | 42
C767 - 26 | 2 |  | 313.7614 | 579.3649 | 0.54156 | 0.01177 | 0.0014437 | 0.0017761 | 7.5305e-05 | 0.045579 | 0.0058547 | 0.052162 | 0.012862 | 11.4392 | 0.48502 | 11.8814 | 1.4573 | 7.276e-08 | 9.346e-09 | 11.4392 | 0.48502 | 11.478 | 0.93272 | -1.4
C767 - 19 | 1 |  | 385.2094 | 469.1215 | 0.82113 | 0.011852 | 0.001195 | 0.0017828 | 5.3893e-05 | 0.047315 | 0.0046511 | 0.0451 | 0.011587 | 11.4821 | 0.34711 | 11.9631 | 1.2062 | 64.1067 | 6.3017 | 11.4821 | 0.34711 | 11.5143 | 0.67377 | 1.7
C767 - 29 | 1 |  | 585.002 | 441.6073 | 1.3247 | 0.011282 | 0.0012238 | 0.0017875 | 5.6074e-05 | 0.04424 | 0.0044869 | 0.045819 | 0.012497 | 11.5125 | 0.36115 | 11.3909 | 1.2357 | 7.276e-08 | 7.3795e-09 | 11.5125 | 0.36115 | 11.5042 | 0.70038 | -3.7
C767 - 25 | 2 |  | 360.7427 | 581.7161 | 0.62014 | 0.012077 | 0.0012251 | 0.0018043 | 7.3423e-05 | 0.047053 | 0.0049361 | 0.059931 | 0.014875 | 11.6206 | 0.47289 | 12.1897 | 1.2365 | 50.8341 | 5.3328 | 11.6206 | 0.47289 | 11.685 | 0.89868 | 1.2
C767 - 07 | 1 |  | 59.3811 | 120.7357 | 0.49183 | 0.012998 | 0.0019485 | 0.0018047 | 0.00010394 | 0.054356 | 0.0086174 | 0.053344 | 0.012062 | 11.6232 | 0.66944 | 13.1134 | 1.9657 | 384.8154 | 61.0073 | 11.6232 | 0.66944 | 11.7594 | 1.2851 | 13
C767 - 19 | 2 |  | 218.5743 | 338.2209 | 0.64625 | 0.0094653 | 0.0013816 | 0.0018058 | 8.4061e-05 | 0.03667 | 0.0055365 | 0.060841 | 0.015183 | 11.6304 | 0.5414 | 9.5657 | 1.3963 | 7.276e-08 | 1.0985e-08 | 11.6304 | 0.5414 | 11.3907 | 1.0273 | -18
C767 - 24 | 2 |  | 145.9545 | 202.0332 | 0.72243 | 0.007885 | 0.0016172 | 0.0018103 | 0.00011648 | 0.030692 | 0.0064985 | 0.072024 | 0.017924 | 11.659 | 0.7502 | 7.9749 | 1.6357 | 7.276e-08 | 1.5405e-08 | 11.659 | 0.7502 | 11.0823 | 1.3962 | -32
C767 - 55 | 2 |  | 56.935 | 117.3328 | 0.48524 | 0.0086406 | 0.0022602 | 0.0018145 | 0.00014575 | 0.032978 | 0.0089369 | 0.064486 | 0.016309 | 11.6861 | 0.93871 | 8.7358 | 2.2851 | 7.276e-08 | 1.9717e-08 | 11.6861 | 0.93871 | 11.3061 | 1.7705 | -26
C767 - 44 | 2 |  | 446.4 | 592.9651 | 0.75283 | 0.013247 | 0.001285 | 0.0018168 | 7.9418e-05 | 0.051289 | 0.0051426 | 0.061803 | 0.015443 | 11.7011 | 0.5115 | 13.3627 | 1.2962 | 252.834 | 25.3509 | 11.7011 | 0.5115 | 11.9 | 0.96918 | 7.8
C767 - 38 | 1 |  | 573.8739 | 1037.1712 | 0.55331 | 0.012383 | 0.00085047 | 0.0018169 | 4.3709e-05 | 0.045089 | 0.0031467 | 0.051394 | 0.013891 | 11.702 | 0.28151 | 12.496 | 0.85825 | 7.276e-08 | 5.0778e-09 | 11.702 | 0.28151 | 11.7698 | 0.54192 | -2.4
C767 - 27 | 2 |  | 131.8468 | 172.5236 | 0.76422 | 0.018591 | 0.0027516 | 0.0018316 | 0.00012827 | 0.071455 | 0.011343 | 0.046616 | 0.011308 | 11.7962 | 0.82612 | 18.7042 | 2.7683 | 969.5435 | 153.9056 | 11.7962 | 0.82612 | 12.2888 | 1.6007 | 34
C767 - 07 | 2 |  | 255.5392 | 323.2847 | 0.79045 | 0.013034 | 0.0016499 | 0.0018402 | 0.00011774 | 0.050028 | 0.0069646 | 0.071364 | 0.016906 | 11.8515 | 0.75832 | 13.1493 | 1.6645 | 195.2781 | 27.1854 | 11.8515 | 0.75832 | 12.0521 | 1.413 | 5.8
C767 - 21 | 2 |  | 87.5656 | 96.9159 | 0.90352 | 0.012965 | 0.0033536 | 0.0018771 | 0.0001796 | 0.049842 | 0.013619 | 0.053555 | 0.013187 | 12.0893 | 1.1567 | 13.0794 | 3.3833 | 186.5838 | 50.9828 | 12.0893 | 1.1567 | 12.1806 | 2.2196 | 5.7
C767 - 12 | 2 |  | 220.24 | 276.9313 | 0.79529 | 0.013224 | 0.0017748 | 0.0018882 | 0.00011435 | 0.049692 | 0.0073026 | 0.064432 | 0.015659 | 12.1609 | 0.73647 | 13.3391 | 1.7903 | 179.5515 | 26.3866 | 12.1609 | 0.73647 | 12.3129 | 1.3892 | 5.3
C767 - 28 | 1 |  | 466.0593 | 368.886 | 1.2634 | 0.014013 | 0.0013097 | 0.0018887 | 6.2759e-05 | 0.052622 | 0.005239 | 0.047918 | 0.011979 | 12.1641 | 0.40419 | 14.1302 | 1.3206 | 311.496 | 31.0124 | 12.1641 | 0.40419 | 12.3114 | 0.78173 | 10
C767 - 47 | 1 |  | 610.498 | 793.1993 | 0.76967 | 0.049843 | 0.0036273 | 0.0018893 | 6.3481e-05 | 0.1772 | 0.010738 | 0.017501 | 0.0059116 | 12.1678 | 0.40884 | 49.3885 | 3.5942 | 2626.0632 | 159.1434 | 12.1678 | 0.40884 | 12.5677 | 0.81336 | 110
C767 - 03 | 2 |  | 1245.985 | 891.8336 | 1.3971 | 0.034721 | 0.0030137 | 0.0019007 | 7.9591e-05 | 0.13059 | 0.013902 | 0.026409 | 0.0057252 | 12.2409 | 0.51259 | 34.6574 | 3.0082 | 2105.1564 | 224.1003 | 12.2409 | 0.51259 | 12.7794 | 1.014 | 83
C767 - 50 | 2 |  | 363.9776 | 564.8623 | 0.64437 | 0.031054 | 0.0021118 | 0.0019232 | 8.4707e-05 | 0.11442 | 0.0082759 | 0.04011 | 0.010235 | 12.386 | 0.54553 | 31.0515 | 2.1117 | 1869.9011 | 135.2538 | 12.386 | 0.54553 | 13.3937 | 1.0655 | 71
C767 - 15 | 1 |  | 245.6863 | 323.7548 | 0.75887 | 0.013977 | 0.0015513 | 0.0019278 | 0.00010019 | 0.052122 | 0.0060584 | 0.064582 | 0.016537 | 12.4152 | 0.64522 | 14.0942 | 1.5643 | 289.7626 | 33.6804 | 12.4152 | 0.64522 | 12.633 | 1.2167 | 9
C767 - 47 | 2 |  | 101.225 | 176.6243 | 0.57311 | 0.013146 | 0.0028207 | 0.001928 | 0.00017939 | 0.048814 | 0.011701 | 0.063596 | 0.015331 | 12.4164 | 1.1553 | 13.2611 | 2.8454 | 137.8663 | 33.0465 | 12.4164 | 1.1553 | 12.523 | 2.1822 | 4
C767 - 14 | 2 |  | 305.1958 | 369.9415 | 0.82498 | 0.012761 | 0.0015086 | 0.0019284 | 0.00010656 | 0.047066 | 0.0057887 | 0.070637 | 0.018409 | 12.4193 | 0.68628 | 12.8755 | 1.5221 | 51.493 | 6.3332 | 12.4193 | 0.68628 | 12.4886 | 1.2804 | 1.2
C767 - 13 | 2 |  | 677.2397 | 882.7519 | 0.76719 | 0.010407 | 0.0017398 | 0.0019297 | 9.564e-05 | 0.038041 | 0.0073846 | 0.054973 | 0.012951 | 12.4275 | 0.61594 | 10.5122 | 1.7574 | 7.276e-08 | 1.4124e-08 | 12.4275 | 0.61594 | 12.2425 | 1.1794 | -15
C767 - 08 | 2 |  | 169.8252 | 325.7107 | 0.5214 | 0.058267 | 0.0050778 | 0.0019693 | 0.00013033 | 0.2177 | 0.031703 | 0.025667 | 0.004111 | 12.6824 | 0.83934 | 57.5035 | 5.0113 | 2963.0227 | 431.4958 | 12.6824 | 0.83934 | 13.7132 | 1.6616 | 120
C767 - 61 | 2 |  | 159.2171 | 231.2974 | 0.68837 | 0.012807 | 0.0019794 | 0.0019833 | 0.00010825 | 0.04654 | 0.0075108 | 0.054686 | 0.014412 | 12.7723 | 0.69711 | 12.9219 | 1.9971 | 24.5932 | 3.969 | 12.7723 | 0.69711 | 12.7867 | 1.3354 | 0.36
C767 - 09 | 1 |  | 143.1315 | 456.9451 | 0.31324 | 0.011567 | 0.0016802 | 0.0019962 | 7.47e-05 | 0.041862 | 0.005022 | 0.044459 | 0.014875 | 12.8556 | 0.48107 | 11.6779 | 1.6963 | 7.276e-08 | 8.7286e-09 | 12.8556 | 0.48107 | 12.7791 | 0.93439 | -8
C767 - 06 | 2 |  | 262.9689 | 463.6264 | 0.5672 | 0.015622 | 0.0018409 | 0.0019973 | 8.9278e-05 | 0.055019 | 0.0071735 | 0.048496 | 0.012446 | 12.8625 | 0.57495 | 15.7399 | 1.8548 | 412.0104 | 53.7182 | 12.8625 | 0.57495 | 13.0835 | 1.1111 | 13
C767 - 30 | 2 |  | 197.2198 | 263.3586 | 0.74886 | 0.0069746 | 0.0017788 | 0.0019974 | 0.00013046 | 0.023615 | 0.0061744 | 0.073343 | 0.02113 | 12.8633 | 0.84019 | 7.0573 | 1.7999 | 7.276e-08 | 1.9024e-08 | 12.8633 | 0.84019 | 11.9246 | 1.5594 | -52
C767 - 25 | 1 |  | 182.413 | 139.418 | 1.3084 | 0.01631 | 0.0021949 | 0.0019981 | 0.00011477 | 0.054825 | 0.0077753 | 0.052289 | 0.014761 | 12.8678 | 0.73911 | 16.427 | 2.2107 | 404.1136 | 57.3111 | 12.8678 | 0.73911 | 13.1824 | 1.4208 | 13
C767 - 06 | 1 |  | 236.324 | 559.8006 | 0.42216 | 0.028364 | 0.0021702 | 0.002008 | 7.1129e-05 | 0.098688 | 0.0077207 | 0.032775 | 0.0092127 | 12.9316 | 0.45807 | 28.3998 | 2.1729 | 1598.6373 | 125.068 | 12.9316 | 0.45807 | 13.4968 | 0.90127 | 60
C767 - 34 | 1 |  | 197.6461 | 188.8173 | 1.0468 | 0.016553 | 0.0020428 | 0.0020134 | 8.992e-05 | 0.058185 | 0.0072514 | 0.044019 | 0.0124 | 12.9661 | 0.57908 | 16.6701 | 2.0572 | 535.7433 | 66.7679 | 12.9661 | 0.57908 | 13.2031 | 1.1255 | 18
C767 - 22 | 2 |  | 191.5472 | 306.9456 | 0.62404 | 0.038363 | 0.0060139 | 0.0020173 | 9.9893e-05 | 0.1357 | 0.020142 | 0.016611 | 0.0049595 | 12.991 | 0.6433 | 38.2249 | 5.9922 | 2172.2842 | 322.4226 | 12.991 | 0.6433 | 13.2342 | 1.2802 | 87
C767 - 24 | 1 |  | 125.4083 | 261.6331 | 0.47933 | 0.012676 | 0.0013772 | 0.0020185 | 7.5877e-05 | 0.044177 | 0.0049775 | 0.055094 | 0.015244 | 12.9991 | 0.48864 | 12.79 | 1.3896 | 7.276e-08 | 8.198e-09 | 12.9991 | 0.48864 | 12.9788 | 0.93543 | -3.8
C767 - 16 | 1 |  | 131.3186 | 180.8484 | 0.72613 | 0.011161 | 0.0015474 | 0.0020195 | 0.00010388 | 0.039066 | 0.00562 | 0.067129 | 0.018483 | 13.0055 | 0.66896 | 11.2695 | 1.5625 | 7.276e-08 | 1.0467e-08 | 13.0055 | 0.66896 | 12.7646 | 1.2557 | -13
C767 - 44 | 1 |  | 365.856 | 463.7542 | 0.7889 | 0.061461 | 0.010484 | 0.0020202 | 9.1365e-05 | 0.20921 | 0.027953 | 0.0087145 | 0.0032686 | 13.0101 | 0.58838 | 60.5643 | 10.3312 | 2898.7053 | 387.2991 | 13.0101 | 0.58838 | 13.1384 | 1.1743 | 120
C767 - 36 | 1 |  | 314.4093 | 304.6215 | 1.0321 | 0.013251 | 0.0014413 | 0.0020219 | 7.1554e-05 | 0.047051 | 0.0049825 | 0.049645 | 0.014361 | 13.021 | 0.4608 | 13.3663 | 1.4539 | 50.755 | 5.3747 | 13.021 | 0.4608 | 13.0487 | 0.88896 | 1.2
C767 - 32 | 2 |  | 292.4065 | 418.6313 | 0.69848 | 0.017492 | 0.0019509 | 0.0020608 | 9.4595e-05 | 0.058866 | 0.0071049 | 0.048488 | 0.013314 | 13.2713 | 0.60917 | 17.6075 | 1.9638 | 561.1738 | 67.7312 | 13.2713 | 0.60917 | 13.6046 | 1.1771 | 19
C767 - 33 | 2 |  | 756.386 | 915.886 | 0.82585 | 0.013387 | 0.0014992 | 0.0020861 | 8.54e-05 | 0.045846 | 0.0053183 | 0.056963 | 0.016058 | 13.4336 | 0.54995 | 13.5031 | 1.5122 | 7.276e-08 | 8.4403e-09 | 13.4336 | 0.54995 | 13.4408 | 1.0497 | -0.87
C767 - 58 | 2 |  | 100.4088 | 155.327 | 0.64643 | 0.010232 | 0.0036227 | 0.002106 | 0.00023938 | 0.034692 | 0.012763 | 0.066079 | 0.018756 | 13.5615 | 1.5415 | 10.3364 | 3.6597 | 7.276e-08 | 2.6769e-08 | 13.5615 | 1.5415 | 13.1263 | 2.8985 | -22
C767 - 31 | 1 |  | 23.478 | 36.8813 | 0.63658 | 0.019583 | 0.0044721 | 0.0021157 | 0.00020655 | 0.067226 | 0.016499 | 0.046187 | 0.012519 | 13.6239 | 1.3301 | 19.6917 | 4.497 | 843.8447 | 207.1066 | 13.6239 | 1.3301 | 14.0502 | 2.5779 | 29
C767 - 52 | 2 |  | 171.3935 | 176.2744 | 0.97231 | 0.020011 | 0.0027933 | 0.0021708 | 0.00012698 | 0.066114 | 0.0098024 | 0.045459 | 0.012954 | 13.9786 | 0.81768 | 20.1184 | 2.8082 | 809.0389 | 119.9531 | 13.9786 | 0.81768 | 14.3975 | 1.5862 | 28
C767 - 03 | 1 |  | 72.4845 | 180.4667 | 0.40165 | 0.031029 | 0.0040033 | 0.0021817 | 0.0001029 | 0.10114 | 0.011122 | 0.025704 | 0.0092518 | 14.0489 | 0.66262 | 31.0274 | 4.0031 | 1644.2432 | 180.8223 | 14.0489 | 0.66262 | 14.4358 | 1.3113 | 63
C767 - 02 | 2 |  | 121.1728 | 224.9501 | 0.53867 | 0.034782 | 0.0041121 | 0.0022049 | 0.00017583 | 0.11582 | 0.015993 | 0.04276 | 0.010995 | 14.1977 | 1.1322 | 34.7169 | 4.1044 | 1891.9159 | 261.2343 | 14.1977 | 1.1322 | 15.4543 | 2.2041 | 72
C767 - 11 | 1 |  | 59.8556 | 90.4421 | 0.66181 | 0.024423 | 0.0031392 | 0.0022179 | 0.00017519 | 0.085297 | 0.011908 | 0.055808 | 0.014712 | 14.2817 | 1.1281 | 24.5005 | 3.1492 | 1321.4291 | 184.4871 | 14.2817 | 1.1281 | 15.3066 | 2.1572 | 47
C767 - 37 | 1 |  | 799.3888 | 717.4849 | 1.1142 | 0.10265 | 0.0053575 | 0.0022583 | 7.4034e-05 | 0.30874 | 0.01951 | 0.013819 | 0.0037947 | 14.5412 | 0.47671 | 99.2236 | 5.1785 | 3513.9693 | 222.0501 | 14.5412 | 0.47671 | 15.1263 | 0.94982 | 150
C767 - 62 | 2 |  | 281.6207 | 451.3058 | 0.62401 | 0.014697 | 0.0015427 | 0.0022741 | 8.8094e-05 | 0.047305 | 0.0051243 | 0.057104 | 0.017191 | 14.643 | 0.56724 | 14.8146 | 1.555 | 63.5815 | 6.8875 | 14.643 | 0.56724 | 14.6609 | 1.0822 | 1.6
C767 - 31 | 2 |  | 93.2262 | 169.9954 | 0.5484 | 0.01909 | 0.0028536 | 0.0023877 | 0.00017668 | 0.055442 | 0.0087224 | 0.061913 | 0.020255 | 15.3738 | 1.1376 | 19.2006 | 2.8702 | 429.084 | 67.5062 | 15.3738 | 1.1376 | 15.8367 | 2.1538 | 14
C767 - 46 | 1 |  | 383.8685 | 419.2349 | 0.91564 | 0.091161 | 0.0058468 | 0.0024442 | 9.0624e-05 | 0.2604 | 0.016519 | 0.0155 | 0.005486 | 15.7369 | 0.58349 | 88.5843 | 5.6816 | 3248.4033 | 206.0756 | 15.7369 | 0.58349 | 16.3669 | 1.1616 | 140
C767 - 45 | 2 |  | 252.0052 | 602.4774 | 0.41828 | 0.10611 | 0.0065106 | 0.0025048 | 0.00011955 | 0.30254 | 0.021868 | 0.018362 | 0.0054668 | 16.1269 | 0.7697 | 102.3968 | 6.283 | 3482.5671 | 251.7284 | 16.1269 | 0.7697 | 17.1794 | 1.5304 | 150
C767 - 45 | 1 |  | 469.0336 | 824.3889 | 0.56895 | 0.12673 | 0.0092995 | 0.0025801 | 7.8532e-05 | 0.33191 | 0.017917 | 0.0084448 | 0.0043831 | 16.6111 | 0.5056 | 121.1537 | 8.8904 | 3625.223 | 195.6971 | 16.6111 | 0.5056 | 16.8855 | 1.0089 | 160
C767 - 04 | 1 |  | 134.6021 | 172.5345 | 0.78015 | 0.019261 | 0.0028655 | 0.0026609 | 0.00014902 | 0.050737 | 0.0069277 | 0.052004 | 0.02151 | 17.1301 | 0.95935 | 19.3712 | 2.8819 | 227.8725 | 31.1139 | 17.1301 | 0.95935 | 17.3275 | 1.8437 | 6.9
C767 - 10 | 2 |  | 596.3524 | 1006.7173 | 0.59237 | 0.020576 | 0.0013011 | 0.0027906 | 9.4492e-05 | 0.052051 | 0.0039785 | 0.072625 | 0.023751 | 17.9643 | 0.60829 | 20.68 | 1.3077 | 286.6288 | 21.9084 | 17.9643 | 0.60829 | 18.4016 | 1.1294 | 8.5
C767 - 27 | 1 |  | 39.9273 | 73.9092 | 0.54022 | 0.042601 | 0.0048038 | 0.002979 | 0.00023327 | 0.10242 | 0.012615 | 0.048559 | 0.018491 | 19.1756 | 1.5015 | 42.3603 | 4.7767 | 1667.5287 | 205.4038 | 19.1756 | 1.5015 | 20.9993 | 2.8998 | 61
C767 - 43 | 1 |  | 277.9549 | 338.3084 | 0.8216 | 0.23644 | 0.011688 | 0.0036322 | 0.00010723 | 0.45321 | 0.02158 | 0.0091746 | 0.004969 | 23.372 | 0.69001 | 215.5006 | 10.6529 | 4095.1267 | 194.9926 | 23.372 | 0.69001 | 24.0016 | 1.376 | 180
C767 - 59 | 2 |  | 530.9099 | 719.2287 | 0.73817 | 0.024712 | 0.0016755 | 0.003709 | 8.869e-05 | 0.049234 | 0.0033292 | 0.052935 | 0.02664 | 23.8653 | 0.57067 | 24.7866 | 1.6806 | 157.9246 | 10.6791 | 23.8653 | 0.57067 | 23.9501 | 1.0941 | 4.5
C767 - 35 | 1 |  | 167.6428 | 253.6566 | 0.6609 | 0.13716 | 0.0070105 | 0.0049832 | 0.00031745 | 0.197 | 0.014022 | 0.045282 | 0.022639 | 32.0442 | 2.0413 | 130.5069 | 6.6707 | 2800.7704 | 199.3529 | 32.0442 | 2.0413 | 39.2818 | 3.9579 | 110
C767 - 29 | 2 |  | 107.0572 | 317.4171 | 0.33728 | 0.15462 | 0.012536 | 0.019269 | 0.0013037 | 0.056318 | 0.0035871 | 0.104 | 0.36345 | 123.0315 | 8.3244 | 145.9792 | 11.8356 | 463.9461 | 29.5502 | 123.0315 | 8.3244 | 130.7592 | 13.9394 | 10
C767 - 34 | 2 |  | 623.5239 | 450.062 | 1.3854 | 0.14184 | 0.0079905 | 0.020377 | 0.00051975 | 0.0488 | 0.0025414 | 0.065046 | 0.20451 | 130.0383 | 3.3168 | 134.6839 | 7.5872 | 137.1798 | 7.1441 | 130.0383 | 3.3168 | 130.7735 | 6.1069 | 0.4
C767 - 41 | 1 |  | 1223.3344 | 744.9828 | 1.6421 | 0.4874 | 0.026831 | 0.032613 | 0.00042703 | 0.10142 | 0.0051097 | 0.015916 | 0.083573 | 206.8784 | 2.7089 | 403.1347 | 22.1921 | 1649.3994 | 83.1004 | 206.8784 | 2.7089 | 209.5595 | 5.3075 | 57
C767 - 10 | 1 |  | 234.3301 | 1397.4408 | 0.16769 | 0.29336 | 0.008412 | 0.035966 | 0.00050797 | 0.053836 | 0.0012607 | 0.060387 | 0.40292 | 227.7814 | 3.2171 | 261.1977 | 7.4898 | 363.2088 | 8.5055 | 227.7814 | 3.2171 | 233.2718 | 5.8665 | 4
C767 - 42 | 1 |  | 103.1768 | 384.6968 | 0.2682 | 0.4555 | 0.027115 | 0.037715 | 0.00067871 | 0.085058 | 0.0033687 | 0.025031 | 0.20148 | 238.654 | 4.2948 | 381.1231 | 22.6879 | 1315.9885 | 52.1191 | 238.654 | 4.2948 | 243.537 | 8.3265 | 41
C767 - 01 | 2 |  | 178.0743 | 409.4663 | 0.43489 | 0.49736 | 0.018243 | 0.040857 | 0.0010972 | 0.087808 | 0.0046231 | 0.06014 | 0.23732 | 258.1444 | 6.9321 | 409.9136 | 15.0358 | 1377.4308 | 72.5226 | 258.1444 | 6.9321 | 286.0523 | 12.5963 | 39
C767 - 15 | 2 |  | 217.8047 | 407.6157 | 0.53434 | 0.33349 | 0.01292 | 0.044614 | 0.000574 | 0.052212 | 0.001663 | 0.044426 | 0.34516 | 281.3673 | 3.6201 | 292.2267 | 11.3218 | 293.6712 | 9.3538 | 281.3673 | 3.6201 | 282.4761 | 6.7642 | 0.37
C767 - 35 | 2 |  | 94.7409 | 230.5171 | 0.41099 | 0.33076 | 0.01869 | 0.044871 | 0.0011001 | 0.053735 | 0.002671 | 0.05886 | 0.41186 | 282.9534 | 6.9371 | 290.1493 | 16.395 | 358.9428 | 17.8421 | 282.9534 | 6.9371 | 284.1642 | 12.5416 | 2.5
C767 - 22 | 1 |  | 576.3472 | 1268.093 | 0.4545 | 0.47601 | 0.01212 | 0.047408 | 0.00079805 | 0.067541 | 0.0011971 | 0.065844 | 0.66665 | 298.5866 | 5.0263 | 395.3291 | 10.0661 | 853.5634 | 15.1289 | 298.5866 | 5.0263 | 319.8521 | 8.8986 | 18
C767 - 26 | 1 |  | 107.8617 | 329.1405 | 0.32771 | 0.39008 | 0.017069 | 0.04923 | 0.00087141 | 0.05475 | 0.0022682 | 0.051053 | 0.38419 | 309.7924 | 5.4835 | 334.4294 | 14.6334 | 401.0333 | 16.6137 | 309.7924 | 5.4835 | 313.1973 | 10.0522 | 2.8
C767 - 14 | 1 |  | 65.5671 | 686.2905 | 0.095538 | 0.3583 | 0.011145 | 0.049462 | 0.00069023 | 0.051908 | 0.0011482 | 0.061934 | 0.60112 | 311.2167 | 4.343 | 310.9433 | 9.6716 | 280.3449 | 6.2014 | 311.2167 | 4.343 | 311.1655 | 7.7385 | -1.1
C767 - 43 | 2 |  | 350.8248 | 1193.1673 | 0.29403 | 0.39131 | 0.013176 | 0.049955 | 0.00067323 | 0.0533 | 0.0013431 | 0.051097 | 0.50125 | 314.2432 | 4.235 | 335.3234 | 11.2907 | 340.5751 | 8.5822 | 314.2432 | 4.235 | 317.175 | 7.7554 | 0.81
C767 - 56 | 2 |  | 93.3538 | 200.9049 | 0.46467 | 0.36141 | 0.016695 | 0.051485 | 0.00073899 | 0.050352 | 0.0019364 | 0.044265 | 0.38163 | 323.6304 | 4.6453 | 313.2684 | 14.4709 | 210.2264 | 8.0849 | 323.6304 | 4.6453 | 322.5209 | 8.6192 | -3.9
C767 - 39 | 2 |  | 102.218 | 187.1586 | 0.54616 | 0.47458 | 0.021286 | 0.059424 | 0.0008326 | 0.054574 | 0.0019784 | 0.039114 | 0.42085 | 372.1191 | 5.2138 | 394.3479 | 17.6876 | 393.7988 | 14.2758 | 372.1191 | 5.2138 | 374.2124 | 9.7111 | 0.63
C767 - 20 | 1 |  | 101.7581 | 190.5114 | 0.53413 | 0.50455 | 0.016937 | 0.060914 | 0.00064298 | 0.057255 | 0.0015831 | 0.037962 | 0.40616 | 381.1792 | 4.0236 | 414.7759 | 13.9238 | 500.387 | 13.8353 | 381.1792 | 4.0236 | 384.2366 | 7.5034 | 4
C767 - 13 | 1 |  | 205.8052 | 156.71 | 1.3133 | 0.60369 | 0.025939 | 0.064184 | 0.00070514 | 0.067805 | 0.0025 | 0.027185 | 0.28206 | 401.0211 | 4.4057 | 479.5754 | 20.6059 | 861.6624 | 31.77 | 401.0211 | 4.4057 | 405.0532 | 8.3629 | 17
C767 - 12 | 1 |  | 115.9462 | 97.7452 | 1.1862 | 0.50549 | 0.024495 | 0.064715 | 0.00092212 | 0.054842 | 0.002239 | 0.037645 | 0.41184 | 404.2337 | 5.76 | 415.4109 | 20.1303 | 404.7933 | 16.5263 | 404.2337 | 5.76 | 405.261 | 10.7069 | 0.22
C767 - 02 | 1 |  | 108.8672 | 291.5108 | 0.37346 | 0.97303 | 0.027789 | 0.11451 | 0.00096626 | 0.060278 | 0.0011665 | 0.034771 | 0.82837 | 698.9002 | 5.8974 | 690.023 | 19.7067 | 612.5973 | 11.8546 | 698.9002 | 5.8974 | 697.7926 | 10.5165 | -3.2
C767 - 63 | 2 |  | 39.5014 | 91.2628 | 0.43283 | 1.2435 | 0.058768 | 0.13575 | 0.0018625 | 0.066857 | 0.002245 | 0.031692 | 0.82959 | 820.5825 | 11.2582 | 820.4726 | 38.7751 | 832.3771 | 27.9512 | 820.5825 | 11.2582 | 820.5706 | 19.8543 | 0.46
C767 - 09 | 2 |  | 157.5566 | 367.4758 | 0.42875 | 1.6096 | 0.058942 | 0.16443 | 0.0043307 | 0.070097 | 0.0035279 | 0.073474 | 1.2276 | 981.3266 | 25.8465 | 973.9494 | 35.6653 | 930.2863 | 46.8202 | 981.3266 | 25.8465 | 977.4504 | 34.2577 | -1.7
C767 - 18 | 2 |  | 36.5259 | 105.1267 | 0.34745 | 1.7078 | 0.102 | 0.16831 | 0.0031995 | 0.071503 | 0.0026082 | 0.031368 | 1.2267 | 1002.7667 | 19.0627 | 1011.4486 | 60.4113 | 970.9109 | 35.4159 | 1002.7667 | 19.0627 | 1004.211 | 32.4819 | -1.4
C767 - 21 | 1 |  | 123.608 | 138.5252 | 0.89231 | 1.98 | 0.065616 | 0.17792 | 0.0020685 | 0.078776 | 0.0017162 | 0.031524 | 1.2053 | 1055.6055 | 12.2723 | 1108.7144 | 36.7423 | 1165.6272 | 25.3945 | 1055.6055 | 12.2723 | 1065.4628 | 20.6654 | 3.8
C767 - 37 | 2 |  | 91.8881 | 168.1739 | 0.54639 | 1.9835 | 0.076473 | 0.18202 | 0.002131 | 0.075989 | 0.001979 | 0.027866 | 1.0768 | 1078.0031 | 12.6205 | 1109.8958 | 42.7928 | 1093.8914 | 28.4886 | 1078.0031 | 12.6205 | 1082.9007 | 21.5541 | 0.43
C767 - 57 | 2 |  | 9.4946 | 31.2819 | 0.30352 | 1.8997 | 0.12627 | 0.18478 | 0.0037819 | 0.072056 | 0.0030704 | 0.02995 | 1.2317 | 1093.0308 | 22.371 | 1080.9904 | 71.8516 | 986.6047 | 42.0407 | 1093.0308 | 22.371 | 1090.9536 | 37.6474 | -4.1
C767 - 54 | 2 |  | 51.1519 | 239.8572 | 0.21326 | 2.1547 | 0.077721 | 0.19552 | 0.0021918 | 0.077898 | 0.0019174 | 0.028201 | 1.1431 | 1151.2126 | 12.9052 | 1166.5554 | 42.079 | 1143.3867 | 28.1441 | 1151.2126 | 12.9052 | 1153.8619 | 21.6609 | -0.56
C767 - 40 | 2 |  | 66.0703 | 158.4518 | 0.41697 | 2.2907 | 0.093835 | 0.20284 | 0.0025386 | 0.080617 | 0.0021952 | 0.027054 | 1.1564 | 1190.5452 | 14.9002 | 1209.4337 | 49.5419 | 1211.2453 | 32.9826 | 1190.5452 | 14.9002 | 1193.7688 | 24.964 | 0.64
C767 - 60 | 2 |  | 51.1635 | 107.7687 | 0.47475 | 2.3248 | 0.098506 | 0.20645 | 0.002621 | 0.082765 | 0.0023622 | 0.026607 | 1.1096 | 1209.89 | 15.3598 | 1219.8787 | 51.6894 | 1262.8171 | 36.0418 | 1209.89 | 15.3598 | 1211.5866 | 25.6922 | 2.1
C767 - 38 | 2 |  | 64.068 | 44.3442 | 1.4448 | 2.4396 | 0.15647 | 0.20819 | 0.0035917 | 0.082943 | 0.0028476 | 0.022954 | 1.2613 | 1219.1477 | 21.0328 | 1254.3686 | 80.451 | 1267.0128 | 43.4988 | 1219.1477 | 21.0328 | 1223.9158 | 35.8733 | 1.6
C767 - 30 | 1 |  | 64.1721 | 119.051 | 0.53903 | 4.2784 | 0.14001 | 0.29692 | 0.0025456 | 0.10471 | 0.0018323 | 0.018181 | 1.3893 | 1676.0315 | 14.369 | 1689.2174 | 55.2793 | 1708.333 | 29.8942 | 1708.333 | 29.8942 | 1678.3274 | 23.118 | 1.3